## Absorbance 1_01
Measurement results
Equine Leptin_Neoscientific-09_10_26.skax
2026-09-10T17:15:07-05:00
Absorbance 1
Wavelength: 450 nm
Plate 1
Abs | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 2.0812 | 2.1248 | 0.4931 | 0.2772 | 2.167 | 1.8458
B | 1.7776 | 1.77 | 0.6428 | 0.5152 | 1.9492 | 1.7678
C | 1.4371 | 1.4601 | 0.6948 | 1.2802 | 1.0214 | 1.0061
D | 1.1982 | 1.1817 | 1.0901 | 1.8201 | 1.4082 | 1.3238
E | 0.8863 | 0.862 | 1.1246 | 1.8463 | 1.2913 | 1.2693
F | 0.6509 | 0.6192 | 0.7369 | 0.5014 | 1.2594 | 1.2836
G | 0.2063 | 0.1983 | 0.7477 | 0.7671 | 1.2675 | 1.1685
H | 0.0704 | 0.298 | 0.8896 | 1.5768 | 1.2713 | 1.2218
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Std6 0.0 | Std6 0.0 | Serum 1X | Serum 1X | EtOH 16X | EtOH 16X
B | Std5 1.0 | Std5 1.0 | Serum 2X | Serum 2X | EtOH 64X | EtOH 64X
C | Std4 2.5 | Std4 2.5 | Serum 4X | Serum 4X | Sp2 4 (Serum 4X) | Sp2 4 (Serum 4X)
D | Std3 5.0 | Std3 5.0 | Serum 16X | Serum 16X | Sp3 4 (Serum 16X) | Sp3 4 (Serum 16X)
E | Std2 10.0 | Std2 10.0 | Serum 64X | Serum 64X | Sp4 4 (Serum 64X) | Sp4 4 (Serum 64X)
F | Std1 25.0 | Std1 25.0 | EtOH 1X | EtOH 1X | Sp6 4 (EtOH 4X) | Sp6 4 (EtOH 4X)
G | Sp1 4 (Serum 1X) | Sp1 4 (Serum 1X) | EtOH 2X | EtOH 2X | Sp7 4 (EtOH 16X) | Sp7 4 (EtOH 16X)
H | Blank1 | Sp5 4 (EtOH 1X) | EtOH 4X | EtOH 4X | Sp8 4 (EtOH 64X) | Sp8 4 (EtOH 64X)
Autoloading range A1 - M28 |  |  | EtOH = ethanol extracted serum
Sp = spike

## Standard Curve 1_02
Measurement results
Equine Leptin_Neoscientific-09_10_26.skax
2026-09-10T17:15:07-05:00
Standard Curve 1
Fit type: 4PL
Concentration transformation: Logarithmic
Signal transformation: Linear
Wavelength: 450 nm
Saved curve: No
Sample group: Group 1
y = 2.10265 + ( (0.38362 - 2.10265) / ( 1 + (x/4.19327)^-1.00086) )
y = d + ( (a - d) / ( 1 + (x/c)^b) )
Where:
a = | 0.38362
b = | -1.0009
c = | 4.1933
d = | 2.1027
R²: 0.999
Well | Sample | Conc. | Original signal | CV% | Fitted signal | Residual
Average | Std10001 | 25 | 0.63501 | 3.5319 | 0.63021 | 0.0047937
F01 | Std10001 | 25 | 0.65087 |  | 0.63021 | 0.020653
F02 | Std10001 | 25 | 0.61915 |  | 0.63021 | -0.011065
Average | Std20001 | 10 | 0.87416 | 1.9619 | 0.89123 | -0.017067
E01 | Std20001 | 10 | 0.88628 |  | 0.89123 | -0.0049399
E02 | Std20001 | 10 | 0.86203 |  | 0.89123 | -0.029194
Average | Std30001 | 5 | 1.1899 | 0.98171 | 1.1677 | 0.022264
D01 | Std30001 | 5 | 1.1982 |  | 1.1677 | 0.030524
D02 | Std30001 | 5 | 1.1817 |  | 1.1677 | 0.014004
Average | Std40001 | 2.5 | 1.4486 | 1.1188 | 1.4607 | -0.012163
C01 | Std40001 | 2.5 | 1.4371 |  | 1.4607 | -0.023623
C02 | Std40001 | 2.5 | 1.4601 |  | 1.4607 | -0.00070275
Average | Std50001 | 1 | 1.7738 | 0.30456 | 1.772 | 0.0018349
B01 | Std50001 | 1 | 1.7776 |  | 1.772 | 0.0056549
B02 | Std50001 | 1 | 1.77 |  | 1.772 | -0.0019851
Average | Std60001 | 0 | 2.103 | 1.4663 | 2.1027 | 0.00033663
A01 | Std60001 | 0 | 2.0812 |  | 2.1027 | -0.021468
A02 | Std60001 | 0 | 2.1248 |  | 2.1027 | 0.022142
Plate 1
Signal | 1 | 2 | 3 | 4 | 5 | 6
A | 2.0812 | 2.1248 | 0.49305 | 0.27719 | 2.167 | 1.8458
B | 1.7776 | 1.77 | 0.64277 | 0.51525 | 1.9492 | 1.7678
C | 1.4371 | 1.4601 | 0.69476 | 1.2802 | 1.0214 | 1.0061
D | 1.1982 | 1.1817 | 1.09 | 1.8201 | 1.4082 | 1.3238
E | 0.88628 | 0.86203 | 1.1245 | 1.8463 | 1.2913 | 1.2693
F | 0.65087 | 0.61915 | 0.73694 | 0.50136 | 1.2594 | 1.2836
G | 0.20632 | 0.19831 | 0.74769 | 0.76712 | 1.2674 | 1.1685
H |  | 0.29802 | 0.88957 | 1.5768 | 1.2713 | 1.2218
Conc. | 1 | 2 | 3 | 4 | 5 | 6
A | 0.053229 | < Min | > Max | > Max | < Min | 0.73769
B | 0.97893 | 1.0074 | 23.5868 | > Max | 0.41179 | 1.0157
C | 2.65 | 2.5044 | 18.9498 | 3.8471 | 7.1061 | 7.3839
D | 4.6558 | 4.8388 | 6.0088 | 0.82594 | 2.8429 | 3.4739
E | 10.1393 | 10.8651 | 5.5342 | 0.73607 | 3.7483 | 3.9454
F | 22.7463 | 26.37 | 16.19 | > Max | 4.0378 | 3.8165
G | > Max | > Max | 15.5883 | 14.5875 | 3.9627 | 4.9901
H |  | > Max | 10.0463 | 1.8496 | 3.9276 | 4.4062
Sample | 1 | 2 | 3 | 4 | 5 | 6
A | Std6 0.0 | Std6 0.0 | Serum 1X | Serum 1X | EtOH 16X | EtOH 16X
B | Std5 1.0 | Std5 1.0 | Serum 2X | Serum 2X | EtOH 64X | EtOH 64X
C | Std4 2.5 | Std4 2.5 | Serum 4X | Serum 4X | Sp2 4 (Serum 4X) | Sp2 4 (Serum 4X)
D | Std3 5.0 | Std3 5.0 | Serum 16X | Serum 16X | Sp3 4 (Serum 16X) | Sp3 4 (Serum 16X)
E | Std2 10.0 | Std2 10.0 | Serum 64X | Serum 64X | Sp4 4 (Serum 64X) | Sp4 4 (Serum 64X)
F | Std1 25.0 | Std1 25.0 | EtOH 1X | EtOH 1X | Sp6 4 (EtOH 4X) | Sp6 4 (EtOH 4X)
G | Sp1 4 (Serum 1X) | Sp1 4 (Serum 1X) | EtOH 2X | EtOH 2X | Sp7 4 (EtOH 16X) | Sp7 4 (EtOH 16X)
H | Blank1 | Sp5 4 (EtOH 1X) | EtOH 4X | EtOH 4X | Sp8 4 (EtOH 64X) | Sp8 4 (EtOH 64X)
Autoloading range A1 - M98
EtOH = ethanol extracted serum
Sp = spike

## Blank Subtraction 1_03
Measurement results
Equine Leptin_Neoscientific-09_10_26.skax
2026-09-10T17:15:07-05:00
Blank Subtraction 1
Wavelength: 450 nm
Plate 1
Blank subtracted | 1 | 2 | 3 | 4 | 5 | 6
A | 2.0108 | 2.0544 | 0.42268 | 0.20682 | 2.0966 | 1.7754
B | 1.7072 | 1.6996 | 0.57241 | 0.44488 | 1.8788 | 1.6974
C | 1.3668 | 1.3897 | 0.62439 | 1.2098 | 0.95101 | 0.93569
D | 1.1278 | 1.1113 | 1.0197 | 1.7497 | 1.3379 | 1.2535
E | 0.81592 | 0.79166 | 1.0542 | 1.7759 | 1.221 | 1.199
F | 0.5805 | 0.54878 | 0.66657 | 0.43099 | 1.189 | 1.2132
G | 0.13595 | 0.12794 | 0.67732 | 0.69675 | 1.1971 | 1.0981
H | 0 | 0.22765 | 0.8192 | 1.5064 | 1.2009 | 1.1515
Sample | 1 | 2 | 3 | 4 | 5 | 6
A | Std6 0.0 | Std6 0.0 | Serum 1X | Serum 1X | EtOH 16X | EtOH 16X
B | Std5 1.0 | Std5 1.0 | Serum 2X | Serum 2X | EtOH 64X | EtOH 64X
C | Std4 2.5 | Std4 2.5 | Serum 4X | Serum 4X | Sp2 4 (Serum 4X) | Sp2 4 (Serum 4X)
D | Std3 5.0 | Std3 5.0 | Serum 16X | Serum 16X | Sp3 4 (Serum 16X) | Sp3 4 (Serum 16X)
E | Std2 10.0 | Std2 10.0 | Serum 64X | Serum 64X | Sp4 4 (Serum 64X) | Sp4 4 (Serum 64X)
F | Std1 25.0 | Std1 25.0 | EtOH 1X | EtOH 1X | Sp6 4 (EtOH 4X) | Sp6 4 (EtOH 4X)
G | Sp1 4 (Serum 1X) | Sp1 4 (Serum 1X) | EtOH 2X | EtOH 2X | Sp7 4 (EtOH 16X) | Sp7 4 (EtOH 16X)
H | Blank1 | Sp5 4 (EtOH 1X) | EtOH 4X | EtOH 4X | Sp8 4 (EtOH 64X) | Sp8 4 (EtOH 64X)
Autoloading range A1 - M31 |  |  |  |  | EtOH = ethanol extracted serum
Sp = spike

## 09_10_26_First trial
Measurement results
Equine Leptin_Neoscientific-09_10_26.skax
2026-09-10T17:15:07-05:00
Standard Curve 2
Fit type: 4PL
Concentration transformation: Logarithmic
Signal transformation: Linear
Wavelength: 450 nm
Saved curve: No
Sample group: Group 1
y = 2.03228 + ( (0.31325 - 2.03228) / ( 1 + (x/4.19327)^-1.00086) )
y = d + ( (a - d) / ( 1 + (x/c)^b) )
Where:
a = | 0.31325
b = | -1.0009
c = | 4.1933
d = | 2.0323
R²: 0.999
Well | Sample | Conc. | Original signal | CV% | Fitted signal | Residual
Average | Std10001 | 25 | 0.56464 | 3.9721 | 0.55985 | 0.0047937
F01 | Std10001 | 25 | 0.5805 |  | 0.55985 | 0.020653
F02 | Std10001 | 25 | 0.54878 |  | 0.55985 | -0.011065
Average | Std20001 | 10 | 0.80379 | 2.1337 | 0.82086 | -0.017067
E01 | Std20001 | 10 | 0.81592 |  | 0.82086 | -0.0049399
E02 | Std20001 | 10 | 0.79166 |  | 0.82086 | -0.029194
Average | Std30001 | 5 | 1.1195 | 1.0434 | 1.0973 | 0.022264
D01 | Std30001 | 5 | 1.1278 |  | 1.0973 | 0.030524
D02 | Std30001 | 5 | 1.1113 |  | 1.0973 | 0.014004
Average | Std40001 | 2.5 | 1.3782 | 1.1759 | 1.3904 | -0.012163
C01 | Std40001 | 2.5 | 1.3668 |  | 1.3904 | -0.023623
C02 | Std40001 | 2.5 | 1.3897 |  | 1.3904 | -0.00070275
Average | Std50001 | 1 | 1.7034 | 0.31714 | 1.7016 | 0.0018349
B01 | Std50001 | 1 | 1.7072 |  | 1.7016 | 0.0056549
B02 | Std50001 | 1 | 1.6996 |  | 1.7016 | -0.0019851
Average | Std60001 | 0 | 2.0326 | 1.5171 | 2.0323 | 0.00033663
A01 | Std60001 | 0 | 2.0108 |  | 2.0323 | -0.021468
A02 | Std60001 | 0 | 2.0544 |  | 2.0323 | 0.022142
Plate 1
Signal | 1 | 2 | 3 | 4 | 5 | 6
A | 2.0108 | 2.0544 | 0.42268 | 0.20682 | 2.0966 | 1.7754
B | 1.7072 | 1.6996 | 0.57241 | 0.44488 | 1.8788 | 1.6974
C | 1.3668 | 1.3897 | 0.62439 | 1.2098 | 0.95101 | 0.93569
D | 1.1278 | 1.1113 | 1.0197 | 1.7497 | 1.3379 | 1.2535
E | 0.81592 | 0.79166 | 1.0542 | 1.7759 | 1.221 | 1.199 |  | For Regular Serum
F | 0.5805 | 0.54878 | 0.66657 | 0.43099 | 1.189 | 1.2132 | Dilution factor | Measured | Corrected | Recovery (%)
G | 0.13595 | 0.12794 | 0.67732 | 0.69675 | 1.1971 | 1.0981 | 1 | > Max | #VALUE!
H |  | 0.22765 | 0.8192 | 1.5064 | 1.2009 | 1.1515 | 2 | 23.5868 | 47.1736
[7 empty] | 4 | 11.3985 | 45.5938
Conc. | 1 | 2 | 3 | 4 | 5 | 6 | 16 | 3.4174 | 54.6779
A | 0.053229 | < Min | > Max | > Max | < Min | 0.73769 | 64 | 3.1351 | 200.6487
B | 0.97893 | 1.0074 | 23.5868 | > Max | 0.41179 | 1.0157
C | 2.65 | 2.5044 | 18.9498 | 3.8471 | 7.1061 | 7.3839 |  | Expected | Experimental | Recovery (%)
D | 4.6558 | 4.8388 | 6.0088 | 0.82594 | 2.8429 | 3.4739 | Spike 1 (Serum 1X) | N/A | >Max | #VALUE! | Spikes Preparation
E | 10.1393 | 10.8651 | 5.5342 | 0.73607 | 3.7483 | 3.9454 | Spike 2 (Serum 4X) | 13.5771 | 7.245 | 53.3624 | Sample vol (uL) | Std vol (uL) | Std Conc (ng/mL) | Spike Conc (ng/mL)
F | 22.7463 | 26.37 | 16.19 | > Max | 4.0378 | 3.8165 | Spike 3 (Serum 16X) | 6.8743 | 3.1584 | 45.9452 | 194 | 37 | 25 | 4
G | > Max | > Max | 15.5883 | 14.5875 | 3.9627 | 4.9901 | Spike 4 (Serum 64X | 6.6373 | 3.8469 | 57.9586
H |  | > Max | 10.0463 | 1.8496 | 3.9276 | 4.4062
Sample | 1 | 2 | 3 | 4 | 5 | 6 |  | Serum treated with EtOH
A | Std6 0.0 | Std6 0.0 | Serum 1X | Serum 1X | EtOH 16X | EtOH 16X | Dilution factor | Measured | Corrected | Recovery (%)
B | Std5 1.0 | Std5 1.0 | Serum 2X | Serum 2X | EtOH 64X | EtOH 64X | 1 | > Max | #VALUE!
C | Std4 2.5 | Std4 2.5 | Serum 4X | Serum 4X | Sp2 4 (Serum 4X) | Sp2 4 (Serum 4X) | 2 | 15.0879 | 30.1758
D | Std3 5.0 | Std3 5.0 | Serum 16X | Serum 16X | Sp3 4 (Serum 16X) | Sp3 4 (Serum 16X) | 4 | 5.9479 | 23.7917
E | Std2 10.0 | Std2 10.0 | Serum 64X | Serum 64X | Sp4 4 (Serum 64X) | Sp4 4 (Serum 64X) | 16 | 0.73769 | 11.803
F | Std1 25.0 | Std1 25.0 | EtOH 1X | EtOH 1X | Sp6 4 (EtOH 4X) | Sp6 4 (EtOH 4X) | 64 | 0.71373 | 45.6786
G | Sp1 4 (Serum 1X) | Sp1 4 (Serum 1X) | EtOH 2X | EtOH 2X | Sp7 4 (EtOH 16X) | Sp7 4 (EtOH 16X)
H | Blank1 | Sp5 4 (EtOH 1X) | EtOH 4X | EtOH 4X | Sp8 4 (EtOH 64X) | Sp8 4 (EtOH 64X) |  | Expected | Experimental | Recovery (%)
[7 empty] | Spike 5 (EtOH 1X) | N/A | >Max
Autoloading range A1 - M98 |  |  |  | EtOH = ethanol extracted serum |  |  | Spike 6 (EtOH 4X) | 8.9996 | 3.9272 | 43.6372
|  |  |  | Sp = spike |  |  | Spike 7 (EtOH 16X) | 4.6239 | 4.4764 | 96.8114
[7 empty] | Spike 8 (EtOH 64X | 4.6037 | 4.1669 | 90.5114

## 09_17_26_Second trial
Measurement results
Equine leptin_Neoscientific_2nd Trial_09_17_2026.skax
2026-09-17T15:06:00-05:00
Standard Curve 2
Fit type: 4PL
Concentration transformation: Logarithmic
Signal transformation: Linear
Wavelength: 450 nm
Saved curve: No
Sample group: Group 1
y = 0.532971 + ( (0.0793811 - 0.532971) / ( 1 + (x/4.44532)^-0.950401) )
y = d + ( (a - d) / ( 1 + (x/c)^b) )
Where:
a = | 0.079381
b = | -0.9504
c = | 4.4453
d = | 0.53297
R²: 0.997
Well | Sample | Conc. [ng/mL] | Original signal | CV% | Fitted signal | Residual
Average | Std10001 | 25 | 0.14947 | 13.8603 | 0.15299 | -0.0035208
F01 | Std10001 | 25 | 0.16412 |  | 0.15299 | 0.011128
F02 | Std10001 | 25 | 0.13482 |  | 0.15299 | -0.01817
Average | Std20001 | 10 | 0.23111 | 7.454 | 0.22288 | 0.0082229
E01 | Std20001 | 10 | 0.24329 |  | 0.22288 | 0.020404
E02 | Std20001 | 10 | 0.21892 |  | 0.22288 | -0.0039581
Average | Std30001 | 5 | 0.29184 | 9.0934 | 0.29352 | -0.001681
D01 | Std30001 | 5 | 0.3106 |  | 0.29352 | 0.017084
D02 | Std30001 | 5 | 0.27307 |  | 0.29352 | -0.020446
Average | Std40001 | 2.5 | 0.35787 | 3.8103 | 0.3667 | -0.0088366
C01 | Std40001 | 2.5 | 0.36751 |  | 0.3667 | 0.00080537
C02 | Std40001 | 2.5 | 0.34823 |  | 0.3667 | -0.018479
Average | Std50001 | 1 | 0.45198 | 1.2003 | 0.44452 | 0.0074596
B01 | Std50001 | 1 | 0.45582 |  | 0.44452 | 0.011296
B02 | Std50001 | 1 | 0.44815 |  | 0.44452 | 0.0036236
Average | Std60001 | 0 | 0.53133 | 4.0344 | 0.53297 | -0.001644
A01 | Std60001 | 0 | 0.54648 |  | 0.53297 | 0.013513
A02 | Std60001 | 0 | 0.51617 |  | 0.53297 | -0.016802
Plate 1
Signal | 1 | 2 | 3 | 4 | 5 | 6 |  | For Regular Serum
A | 0.54648 | 0.51617 | 0.27249 | 0.2809 | 0.53772 | 0.47606 | Dilution factor | Measured | Corrected | Recovery (%)
B | 0.45582 | 0.44815 | 0.48685 | 0.48084 | 0.50245 | 0.49536 | 2.5 | 5.858 | 14.6449
C | 0.36751 | 0.34823 | 0.49421 | 0.45765 | 0.52294 | 0.54849 | 5 | 0.48402 | 2.4201
D | 0.3106 | 0.27307 | 0.50517 | 0.5082 | 0.56208 | 0.5765 | 10 | 0.59038 | 5.9038
E | 0.24329 | 0.21892 | 0.49473 | 0.52475 | 0.53648 | 0.5461 | 20 | 0.23653 | 4.7305
F | 0.16412 | 0.13482 | 0.30257 | 0.32644 | 0.36502 | 0.49046 | 40 | 0.21404 | 8.5617
G | 0.50352 | 0.50927 | 0.32139 | 0.37832 | 0.42062 | 0.45635
H |  |  | 0.39525 | 0.39766 | 0.47486 | 0.45009 |  | Expected | Experimental | Recovery (%)
[7 empty] | Spike 1 (Serum 10X) | 9.14 | 4.1391 | 45.2855
Conc. [ng/mL] | 1 | 2 | 3 | 4 | 5 | 6 | Spike 2 (Serum 10X) | 4.865 | 3.0405 | 62.4976
A | < Min | 0.14426 | 6.0903 | 5.6256 | < Min | 0.57632 | Spike 3 (Serum 10X) | 2.727 | 1.8317 | 67.1685
B | 0.83877 | 0.94705 | 0.44907 | 0.51897 | 0.27961 | 0.35459 | Spike 4 (Serum 10X) | 1.66 | 0.57632 | 34.7183
C | 2.48 | 2.9955 | 0.36704 | 0.81372 | 0.082506 | < Min | Spike 5 (Serum 10X) | 1.124 | 0.3171 | 28.2117
D | 4.2665 | 6.0572 | 0.25175 | 0.22131 | < Min | < Min
E | 8.0937 | 10.437 | 0.36142 | 0.066662 | < Min | < Min
F | 20.8941 | 35.3855 | 4.5966 | 3.6816 | 2.5423 | 0.40832 |  | Serum treated with EtOH
G | 0.26859 | 0.21068 | 3.8591 | 2.2219 | 1.3811 | 0.83148 | Dilution factor | Measured | Corrected | Recovery (%)
H |  |  | 1.8561 | 1.8073 | 0.59096 | 0.91917 | 5 | 0.23963 | 1.1982
[7 empty] | 10 | 0.082506 | 0.82506
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 20 | <min | #VALUE!
A | Std6 0.0 | Std6 0.0 | Serum 2.5X | Serum 2.5X | Sp4 1.12 (Serum 10X) | Sp4 1.12 (Serum 10X) | 40 | <min | #VALUE!
B | Std5 1.0 | Std5 1.0 | Serum 5X | Serum 5X | Sp5 0.56 (Serum 10X) | Sp5 0.56 (Serum 10X)
C | Std4 2.5 | Std4 2.5 | Serum 10X | Serum 10X | EtOH 10X | EtOH 10X
D | Std3 5.0 | Std3 5.0 | Serum 20X | Serum 20X | EtOH 20X | EtOH 20X |  | Expected | Experimental | Recovery (%)
E | Std2 10.0 | Std2 10.0 | Serum 40X | Serum 40X | EtOH 40X | EtOH 40X | Spike 6 (EtOH 10X) | 8.62 | 2.5423 | 29.4935
F | Std1 25.0 | Std1 25.0 | Sp1 8.94 (Serum 10X) | Sp1 8.94 (Serum 10X) | Sp6 8.6 (EtOH 10X) | Sp9 1.075 (EtOH 10X) | Spike 7 (EtOH 10X) | 4.35 | 1.1063 | 25.4321
G | EtOH 5X | EtOH 5X | Sp2 4.47 (Serum 10X) | Sp2 4.47 (Serum 10X) | Sp7 4.3 (EtOH 10X) | Sp7 4.3 (EtOH 10X) | Spike 8 (EtOH 10X) | 2.403 | 0.75507 | 31.4218
H | Blank | Blank | Sp3 2.235 (Serum 10X) | Sp3 2.235 (Serum 10X) | Sp8 2.15 (EtOH 10X) | Sp8 2.15 (EtOH 10X) | Spike 9 (EtOH 10X) | 1.31 | 0.40832 | 31.1693
Autoloading range A1 - M98 |  |  |  |  | EtOH = ethanol extracted serum
Sp = spike

## General information
General information
| Report generated with SW version | SkanIt Software 7.1 RE for Microplate Readers RE, ver. 7.1.0.36
| Time zone | (UTC-06:00) Central Time (US & Canada). Daylight saving time in effect: Offset from UTC is -05:00

## Session information
Session information
| Session name | Equine Leptin_Neoscientific-09_10_26.skax
| Session notes | Equine Leptin_NeoScientific-09_10_26
| Executed with | SkanIt Software for Microplate Readers RE, ver 7.1.0.36
| Execution time | 2026-09-10T17:15:07-05:00

## Instrument information
Instrument information
| Name |  | Varioskan ALF
| ESW version |  | 1.00.6
| Set temperature |  | 37.00 °C
| Serial number |  | 3500-00622
Instrument modules
Excitation filter
|  | Excitation filter product number | VF34525
|  | Name | Blue fluorescence EX
|  | Excitation wavelength [nm] | 345
|  | Bandwidth | 25
|  | Permanent | Yes
|  | Date and time of definition | 11/13/2025 10:30:00 AM
Excitation filter
|  | Excitation filter product number | VF48515
|  | Name | Green fluorescence EX
|  | Excitation wavelength [nm] | 485
|  | Bandwidth | 15
|  | Permanent | Yes
|  | Date and time of definition | 11/13/2025 10:30:00 AM
Excitation filter
|  | Excitation filter product number | VF55515
|  | Name | Orange fluorescence EX
|  | Excitation wavelength [nm] | 555
|  | Bandwidth | 15
|  | Permanent | Yes
|  | Date and time of definition | 11/13/2025 10:30:00 AM
Emission filter
|  | Emission filter product number | VF45040
|  | Name | Blue fluorescence EM
|  | Emission wavelength [nm] | 450
|  | Bandwidth | 40
|  | Permanent | Yes
|  | Date and time of definition | 11/13/2025 10:30:00 AM
Emission filter
|  | Emission filter product number | VF52515
|  | Name | Green fluorescence EM
|  | Emission wavelength [nm] | 525
|  | Bandwidth | 15
|  | Permanent | Yes
|  | Date and time of definition | 11/13/2025 10:30:00 AM
Emission filter
|  | Emission filter product number | VF61545
|  | Name | Orange fluorescence EM
|  | Emission wavelength [nm] | 615
|  | Bandwidth | 45
|  | Permanent | Yes
|  | Date and time of definition | 11/13/2025 10:30:00 AM
Filter pair
|  | Name | Blue fluorescence
|  | Excitation filter product number | VF34525
|  | Name | Blue fluorescence EX
|  | Excitation wavelength [nm] | 345
|  | Emission filter product number | VF45040
|  | Name | Blue fluorescence EM
|  | Emission wavelength [nm] | 450
|  | Permanent | Yes
|  | Scaling factor | 1
Filter pair
|  | Name | Green fluorescence
|  | Excitation filter product number | VF48515
|  | Name | Green fluorescence EX
|  | Excitation wavelength [nm] | 485
|  | Emission filter product number | VF52515
|  | Name | Green fluorescence EM
|  | Emission wavelength [nm] | 525
|  | Permanent | Yes
|  | Scaling factor | 1
Filter pair
|  | Name | Orange fluorescence
|  | Excitation filter product number | VF55515
|  | Name | Orange fluorescence EX
|  | Excitation wavelength [nm] | 555
|  | Emission filter product number | VF61545
|  | Name | Orange fluorescence EM
|  | Emission wavelength [nm] | 615
|  | Permanent | Yes
|  | Scaling factor | 1
|  | Top optics | Yes
|  | Bottom optics | No
|  | Photometric monochromator | Yes
|  | Incubator | Yes

## Protocol parameters
Protocol parameters
| Measurement order | 1
| Check temperature at start [°C] | No
| Plate with lid | No
Shake 1
| Duration [hh:mm:ss]: | 00:00:20
| Shaking type | Continuous
| Shaking method | Orbital
| Shaking speed | Medium
Absorbance 1
| Wavelength [nm] | 450
| Use transmittance | No
| Measurement mode | Fast
| Pathlength correction | No

## Run log
Run log
| Time | Event | Information
| 2026-09-10T17:15:07-05:00 | Session Equine Leptin_Neoscientific-09_10_26.skax started
| 2026-09-10T17:15:07-05:00 | Temperature | 36.9°C
| 2026-09-10T17:15:08-05:00 | Step Shake 1 started
| 2026-09-10T17:15:16-05:00 | Temperature | 37.0°C
| 2026-09-10T17:15:30-05:00 | Step Shake 1 ended
| 2026-09-10T17:15:30-05:00 | Step Absorbance 1 started
| 2026-09-10T17:15:53-05:00 | Step Absorbance 1 ended
| 2026-09-10T17:15:53-05:00 | Temperature | 37.0°C
| 2026-09-10T17:15:58-05:00 | Session Equine Leptin_Neoscientific-09_10_26.skax ended

## Layout definitions
Name | Plate 1
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Std60001 | Std60001 | Un0004 | Un0005 | Un0006 | Un0007
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1
B | Std50001 | Std50001 | Un0008 | Un0009 | Un0010 | Un0011
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1 | 1 | 1:1 | 1:1 | 1:1 | 1:1
C | Std40001 | Std40001 | Un0012 | Un0013 | Un0014 | Un0015
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 2.5 | 2.5 | 1:1 | 1:1 | 1:1 | 1:1
D | Std30001 | Std30001 | Un0016 | Un0017 | Un0018 | Un0019
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 5 | 5 | 1:1 | 1:1 | 1:1 | 1:1
E | Std20001 | Std20001 | Un0020 | Un0021 | Un0022 | Un0023
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 10 | 10 | 1:1 | 1:1 | 1:1 | 1:1
F | Std10001 | Std10001 | Un0024 | Un0025 | Un0026 | Un0027
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 25 | 25 | 1:1 | 1:1 | 1:1 | 1:1
G | Un0001 | Un0002 | Un0028 | Un0029 | Un0030 | Un0031
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
H | Blank1 | Un0003 | Un0032 | Un0033 | Un0034 | Un0035
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1