## Absorbance 1_01
Measurement results
Afsar.skax
2026-09-23T16:17:21-05:00
Absorbance 1
Wavelength: 450 nm
Plate 1
Abs | 1 | 2 | 3 | 4 | 5 | 6
A | 0.2377 | 0.2458 | 0.1645 | 0.1392 | 0.837 | 0.859
B | 0.3095 | 0.318 | 0.1203 | 0.1059 | 0.0872 | 0.0824
C | 0.4465 | 0.4453 | 0.0927 | 0.0974 | 0.0872 | 0.0873
D | 0.5893 | 0.6367 | 0.1339 | 0.0947 | 0.0963 | 0.097
E | 0.9182 | 0.8959 | 0.1049 | 0.0938 | 0.0943 | 0.1022
F | 1.1625 | 1.1011 | 0.6196 | 0.5487 | 0.0979 | 0.508
G | 1.3696 | 1.2796 | 0.7322 | 0.7476 | 0.7188 | 0.6846
H | 0.1146 | 0.7945 | 0.7396 | 0.6988 | 0.7651 | 0.7416
Sample | 1 | 2 | 3 | 4 | 5 | 6
A | Std7 3.12 | Std7 3.12 | Serum 1X | Serum 1X | Sp4 40 (Serum 400X) | Sp4 40 (Serum 400X)
B | Std6 6.25 | Std6 6.25 | Serum 5X | Serum 5X | EtOH 1X | EtOH 1X
C | Std5 12.5 | Std5 12.5 | Serum 25X | Serum 25X | EtOH 5X | EtOH 5X
D | Std4 25 | Std4 25 | Serum 100X | Serum 125X | EtOH 25X | EtOH 25X
E | Std3 50 | Std3 50 | Serum 400X | Serum 625X | EtOH 100X | EtOH 100X
F | Std2 100 | Std2 100 | Sp1 40 (Serum 1X) | Sp1 40 (Serum 1X) | EtOH 400X | Sp5 40 (EtOH 1X)
G | Std1 200 | Std1 200 | Sp2 40 (Serum 25X) | Sp2 40 (Serum 25X) | Sp6 40 (EtOH 25X) | Sp6 40 (EtOH 25X)
H | Blank | Sp8 40 (EtOH 100X) | Sp3 40 (Serum 100X) | Sp3 40 (Serum 100X) | Sp7 40 (EtOH 100X) | Sp7 40 (EtOH 100X)
Autoloading range A1 - M28
EtOH = ethanol extracted serum
Sp = spike

## Standard Curve 1_02
Measurement results
Afsar.skax
2026-09-23T16:17:21-05:00
Standard Curve 1
Fit type: 4PL
Concentration transformation: Logarithmic
Signal transformation: Linear
Wavelength: 450 nm
Saved curve: No
Sample group: Group 1
y = 1.54148 + ( (0.185061 - 1.54148) / ( 1 + (x/46.6021)^1.13277) )
y = d + ( (a - d) / ( 1 + (x/c)^b) )
Where:
a = | 0.18506
b = | 1.1328
c = | 46.6021
d = | 1.5415
R²: 0.999
Well | Sample | Conc. | Original signal | CV% | Fitted signal | Residual
Average | Std10001 | 200 | 1.3246 | 4.8029 | 1.323 | 0.0016323
G01 | Std10001 | 200 | 1.3696 |  | 1.323 | 0.046617
G02 | Std10001 | 200 | 1.2796 |  | 1.323 | -0.043353
Average | Std20001 | 100 | 1.1318 | 3.8392 | 1.1396 | -0.0077451
F01 | Std20001 | 100 | 1.1625 |  | 1.1396 | 0.02298
F02 | Std20001 | 100 | 1.1011 |  | 1.1396 | -0.03847
Average | Std30001 | 50 | 0.90704 | 1.7344 | 0.89029 | 0.016746
E01 | Std30001 | 50 | 0.91816 |  | 0.89029 | 0.02787
E02 | Std30001 | 50 | 0.89591 |  | 0.89029 | 0.0056222
Average | Std40001 | 25 | 0.613 | 5.4672 | 0.6335 | -0.020497
D01 | Std40001 | 25 | 0.5893 |  | 0.6335 | -0.044195
D02 | Std40001 | 25 | 0.6367 |  | 0.6335 | 0.0032014
Average | Std50001 | 12.5 | 0.44586 | 0.18825 | 0.43441 | 0.011457
C01 | Std50001 | 12.5 | 0.44646 |  | 0.43441 | 0.012051
C02 | Std50001 | 12.5 | 0.44527 |  | 0.43441 | 0.010863
Average | Std60001 | 6.25 | 0.31379 | 1.9174 | 0.31141 | 0.0023876
B01 | Std60001 | 6.25 | 0.30954 |  | 0.31141 | -0.0018669
B02 | Std60001 | 6.25 | 0.31805 |  | 0.31141 | 0.0066421
Average | Std70001 | 3.125 | 0.24177 | 2.3713 | 0.24575 | -0.0039814
A01 | Std70001 | 3.125 | 0.23772 |  | 0.24575 | -0.0080354
A02 | Std70001 | 3.125 | 0.24583 |  | 0.24575 | 7.2601e-05
Plate 1
Signal | 1 | 2 | 3 | 4 | 5 | 6
A | 0.23772 | 0.24583 | 0.16454 | 0.13918 | 0.83703 | 0.859
B | 0.30954 | 0.31805 | 0.12028 | 0.10593 | 0.087229 | 0.08243
C | 0.44646 | 0.44527 | 0.09265 | 0.097389 | 0.087207 | 0.087328
D | 0.5893 | 0.6367 | 0.13393 | 0.094654 | 0.096257 | 0.097011
E | 0.91816 | 0.89591 | 0.10493 | 0.093832 | 0.094266 | 0.1022
F | 1.1625 | 1.1011 | 0.61958 | 0.54865 | 0.09792 | 0.50795
G | 1.3696 | 1.2796 | 0.73225 | 0.74761 | 0.71878 | 0.68459
H |  | 0.79453 | 0.73961 | 0.69882 | 0.76514 | 0.74164
Conc. | 1 | 2 | 3 | 4 | 5 | 6
A | 2.7418 | 3.1284 | < Min | < Min | 43.5231 | 46.0872
B | 6.1601 | 6.5705 | < Min | < Min | < Min | < Min
C | 13.1583 | 13.093 | < Min | < Min | < Min | < Min
D | 21.8746 | 25.2361 | < Min | < Min | < Min | < Min
E | 53.7774 | 50.7386 | < Min | < Min | < Min | < Min
F | 107.57 | 88.9577 | 23.9892 | 19.1992 | < Min | 16.6864
G | 256.106 | 164.722 | 32.9904 | 34.3838 | 31.8057 | 28.9412
H |  | 38.9419 | 33.6525 | 30.1096 | 36.031 | 33.8364
Sample | 1 | 2 | 3 | 4 | 5 | 6
A | Std7 3.12 | Std7 3.12 | Serum 1X | Serum 1X | Sp4 40 (Serum 400X) | Sp4 40 (Serum 400X)
B | Std6 6.25 | Std6 6.25 | Serum 5X | Serum 5X | EtOH 1X | EtOH 1X
C | Std5 12.5 | Std5 12.5 | Serum 25X | Serum 25X | EtOH 5X | EtOH 5X
D | Std4 25 | Std4 25 | Serum 100X | Serum 125X | EtOH 25X | EtOH 25X
E | Std3 50 | Std3 50 | Serum 400X | Serum 625X | EtOH 100X | EtOH 100X
F | Std2 100 | Std2 100 | Sp1 40 (Serum 1X) | Sp1 40 (Serum 1X) | EtOH 400X | Sp5 40 (EtOH 1X)
G | Std1 200 | Std1 200 | Sp2 40 (Serum 25X) | Sp2 40 (Serum 25X) | Sp6 40 (EtOH 25X) | Sp6 40 (EtOH 25X)
H | Blank | Sp8 40 (EtOH 100X) | Sp3 40 (Serum 100X) | Sp3 40 (Serum 100X) | Sp7 40 (EtOH 100X) | Sp7 40 (EtOH 100X)
Autoloading range A1 - M101 |  |  |  |  | EtOH = ethanol extracted serum
Sp = spike

## Blank Subtraction 1_03
Measurement results
Afsar.skax
2026-09-23T16:17:21-05:00
Blank Subtraction 1
Wavelength: 450 nm
Plate 1
Blank subtracted | 1 | 2 | 3 | 4 | 5 | 6
A | 0.12316 | 0.13126 | 0.04998 | 0.024615 | 0.72246 | 0.74444
B | 0.19498 | 0.20348 | 0.005715 | -0.008632 | -0.027335 | -0.032134
C | 0.33189 | 0.33071 | -0.021914 | -0.017175 | -0.027357 | -0.027236
D | 0.47474 | 0.52214 | 0.019371 | -0.01991 | -0.018307 | -0.017553
E | 0.8036 | 0.78135 | -0.009631 | -0.020732 | -0.020298 | -0.01236
F | 1.048 | 0.98652 | 0.50501 | 0.43409 | -0.016643 | 0.39339
G | 1.255 | 1.165 | 0.61769 | 0.63305 | 0.60422 | 0.57003
H | 0 | 0.67996 | 0.62505 | 0.58426 | 0.65058 | 0.62707
Sample | 1 | 2 | 3 | 4 | 5 | 6
A | Std7 3.12 | Std7 3.12 | Serum 1X | Serum 1X | Sp4 40 (Serum 400X) | Sp4 40 (Serum 400X)
B | Std6 6.25 | Std6 6.25 | Serum 5X | Serum 5X | EtOH 1X | EtOH 1X
C | Std5 12.5 | Std5 12.5 | Serum 25X | Serum 25X | EtOH 5X | EtOH 5X
D | Std4 25 | Std4 25 | Serum 100X | Serum 125X | EtOH 25X | EtOH 25X
E | Std3 50 | Std3 50 | Serum 400X | Serum 625X | EtOH 100X | EtOH 100X
F | Std2 100 | Std2 100 | Sp1 40 (Serum 1X) | Sp1 40 (Serum 1X) | EtOH 400X | Sp5 40 (EtOH 1X)
G | Std1 200 | Std1 200 | Sp2 40 (Serum 25X) | Sp2 40 (Serum 25X) | Sp6 40 (EtOH 25X) | Sp6 40 (EtOH 25X)
H | Blank | Sp8 40 (EtOH 100X) | Sp3 40 (Serum 100X) | Sp3 40 (Serum 100X) | Sp7 40 (EtOH 100X) | Sp7 40 (EtOH 100X)
Autoloading range A1 - M31
EtOH = ethanol extracted serum
Sp = spike

## Standard Curve 2_04
Measurement results
Afsar.skax
2026-09-23T16:17:21-05:00
Standard Curve 2
Fit type: 4PL
Concentration transformation: Logarithmic
Signal transformation: Linear
Wavelength: 450 nm
Saved curve: No
Sample group: Group 1
y = 1.42692 + ( (0.0704972 - 1.42692) / ( 1 + (x/46.6021)^1.13277) )
y = d + ( (a - d) / ( 1 + (x/c)^b) )
Where:
a = | 0.070497
b = | 1.1328
c = | 46.6021
d = | 1.4269
R²: 0.999
Well | Sample | Conc. | Original signal | CV% | Fitted signal | Residual
Average | Std10001 | 200 | 1.21 | 5.2576 | 1.2084 | 0.0016323
G01 | Std10001 | 200 | 1.255 |  | 1.2084 | 0.046617
G02 | Std10001 | 200 | 1.165 |  | 1.2084 | -0.043353
Average | Std20001 | 100 | 1.0172 | 4.2715 | 1.025 | -0.0077451
F01 | Std20001 | 100 | 1.048 |  | 1.025 | 0.02298
F02 | Std20001 | 100 | 0.98652 |  | 1.025 | -0.03847
Average | Std30001 | 50 | 0.79247 | 1.9851 | 0.77573 | 0.016746
E01 | Std30001 | 50 | 0.8036 |  | 0.77573 | 0.02787
E02 | Std30001 | 50 | 0.78135 |  | 0.77573 | 0.0056222
Average | Std40001 | 25 | 0.49844 | 6.7238 | 0.51893 | -0.020497
D01 | Std40001 | 25 | 0.47474 |  | 0.51893 | -0.044195
D02 | Std40001 | 25 | 0.52214 |  | 0.51893 | 0.0032014
Average | Std50001 | 12.5 | 0.3313 | 0.25335 | 0.31984 | 0.011457
C01 | Std50001 | 12.5 | 0.33189 |  | 0.31984 | 0.012051
C02 | Std50001 | 12.5 | 0.33071 |  | 0.31984 | 0.010863
Average | Std60001 | 6.25 | 0.19923 | 3.02 | 0.19684 | 0.0023876
B01 | Std60001 | 6.25 | 0.19498 |  | 0.19684 | -0.0018669
B02 | Std60001 | 6.25 | 0.20348 |  | 0.19684 | 0.0066421
Average | Std70001 | 3.125 | 0.12721 | 4.5069 | 0.13119 | -0.0039814
A01 | Std70001 | 3.125 | 0.12316 |  | 0.13119 | -0.0080354
A02 | Std70001 | 3.125 | 0.13126 |  | 0.13119 | 7.2601e-05
Plate 1
Signal | 1 | 2 | 3 | 4 | 5 | 6
A | 0.12316 | 0.13126 | 0.04998 | 0.024615 | 0.72246 | 0.74444 |  | For Regular Serum
B | 0.19498 | 0.20348 | 0.005715 | -0.008632 | -0.027335 | -0.032134 | Dilution factor | Measured | Corrected | Recovery (%)
C | 0.33189 | 0.33071 | -0.021914 | -0.017175 | -0.027357 | -0.027236 | 1 | <min
D | 0.47474 | 0.52214 | 0.019371 | -0.01991 | -0.018307 | -0.017553 | 5 | <min
E | 0.8036 | 0.78135 | -0.009631 | -0.020732 | -0.020298 | -0.01236 | 25 | <min
F | 1.048 | 0.98652 | 0.50501 | 0.43409 | -0.016643 | 0.39339 | 100 | <min
G | 1.255 | 1.165 | 0.61769 | 0.63305 | 0.60422 | 0.57003 | 400 | <min
H |  | 0.67996 | 0.62505 | 0.58426 | 0.65058 | 0.62707
[8 empty] | Expected | Experimental | Recovery (%)
Conc. | 1 | 2 | 3 | 4 | 5 | 6 | Spike 1 (Serum 1X) | 40 | 21.5942 | 53.9855
A | 2.7418 | 3.1284 | < Min | < Min | 43.5231 | 46.0872 | Spike 2 (Serum 25X) | 40 | 33.6871 | 84.2177
B | 6.1601 | 6.5705 | < Min | < Min | < Min | < Min | Spike 3 (Serum 100X) | 40 | 31.8811 | 79.7026
C | 13.1583 | 13.093 | < Min | < Min | < Min | < Min | Spike 4 (Serum 400X | 40 | 44.8051 | 112.0129 | Spikes Preparation
D | 21.8746 | 25.2361 | < Min | < Min | < Min | < Min |  |  |  |  | Sample vol (uL) | Std vol (uL) | Std Conc (ng/mL) | Spike Conc (ng/mL)
E | 53.7774 | 50.7386 | < Min | < Min | < Min | < Min |  |  |  |  | 216 | 24 | 400 | 40
F | 107.57 | 88.9577 | 23.9892 | 19.1992 | < Min | 16.6864
G | 256.106 | 164.722 | 32.9904 | 34.3838 | 31.8057 | 28.9412
H |  | 38.9419 | 33.6525 | 30.1096 | 36.031 | 33.8364 |  | Serum treated with EtOH
[7 empty] | Dilution factor | Measured | Corrected | Recovery (%)
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 1 | <min
A | Std7 3.12 | Std7 3.12 | Serum 1X | Serum 1X | Sp4 40 (Serum 400X) | Sp4 40 (Serum 400X) | 5 | <min
B | Std6 6.25 | Std6 6.25 | Serum 5X | Serum 5X | EtOH 1X | EtOH 1X | 25 | <min
C | Std5 12.5 | Std5 12.5 | Serum 25X | Serum 25X | EtOH 5X | EtOH 5X | 100 | <min
D | Std4 25 | Std4 25 | Serum 100X | Serum 125X | EtOH 25X | EtOH 25X | 400 | <min
E | Std3 50 | Std3 50 | Serum 400X | Serum 625X | EtOH 100X | EtOH 100X
F | Std2 100 | Std2 100 | Sp1 40 (Serum 1X) | Sp1 40 (Serum 1X) | EtOH 400X | Sp5 40 (EtOH 1X) |  | Expected | Experimental | Recovery (%)
G | Std1 200 | Std1 200 | Sp2 40 (Serum 25X) | Sp2 40 (Serum 25X) | Sp6 40 (EtOH 25X) | Sp6 40 (EtOH 25X) | Spike 5 (EtOH 1X) | 40 | 16.6864 | 41.716
H | Blank | Sp8 40 (EtOH 100X) | Sp3 40 (Serum 100X) | Sp3 40 (Serum 100X) | Sp7 40 (EtOH 100X) | Sp7 40 (EtOH 100X) | Spike 6 (EtOH 25X) | 40 | 30.3734 | 75.9336
[7 empty] | Spike 7 (EtOH 100X) | 40 | 34.9337 | 87.3342
Autoloading range A1 - M101 |  |  |  |  | EtOH = ethanol extracted serum |  | Spike 8 (EtOH 400X | 40 | 38.9419 | 97.3547
Sp = spike

## General information
General information
| Report generated with SW version | SkanIt Software 7.1 RE for Microplate Readers RE, ver. 7.1.0.36
| Time zone | (UTC-06:00) Central Time (US & Canada). Daylight saving time in effect: Offset from UTC is -05:00

## Session information
Session information
| Session name | Afsar.skax
Session notes
| Executed with | SkanIt Software for Microplate Readers RE, ver 7.1.0.36
| Execution time | 2026-09-23T16:17:21-05:00

## Instrument information
Instrument information
| Name |  | Varioskan ALF
| ESW version |  | 1.00.6
| Set temperature |  | 37.00 °C
| Serial number |  | 3500-00622
Instrument modules
Excitation filter
|  | Excitation filter product number | VF34525
|  | Name | Blue fluorescence EX
|  | Excitation wavelength [nm] | 345
|  | Bandwidth | 25
|  | Permanent | Yes
|  | Date and time of definition | 11/13/2025 10:30:00 AM
Excitation filter
|  | Excitation filter product number | VF48515
|  | Name | Green fluorescence EX
|  | Excitation wavelength [nm] | 485
|  | Bandwidth | 15
|  | Permanent | Yes
|  | Date and time of definition | 11/13/2025 10:30:00 AM
Excitation filter
|  | Excitation filter product number | VF55515
|  | Name | Orange fluorescence EX
|  | Excitation wavelength [nm] | 555
|  | Bandwidth | 15
|  | Permanent | Yes
|  | Date and time of definition | 11/13/2025 10:30:00 AM
Emission filter
|  | Emission filter product number | VF45040
|  | Name | Blue fluorescence EM
|  | Emission wavelength [nm] | 450
|  | Bandwidth | 40
|  | Permanent | Yes
|  | Date and time of definition | 11/13/2025 10:30:00 AM
Emission filter
|  | Emission filter product number | VF52515
|  | Name | Green fluorescence EM
|  | Emission wavelength [nm] | 525
|  | Bandwidth | 15
|  | Permanent | Yes
|  | Date and time of definition | 11/13/2025 10:30:00 AM
Emission filter
|  | Emission filter product number | VF61545
|  | Name | Orange fluorescence EM
|  | Emission wavelength [nm] | 615
|  | Bandwidth | 45
|  | Permanent | Yes
|  | Date and time of definition | 11/13/2025 10:30:00 AM
Filter pair
|  | Name | Blue fluorescence
|  | Excitation filter product number | VF34525
|  | Name | Blue fluorescence EX
|  | Excitation wavelength [nm] | 345
|  | Emission filter product number | VF45040
|  | Name | Blue fluorescence EM
|  | Emission wavelength [nm] | 450
|  | Permanent | Yes
|  | Scaling factor | 1
Filter pair
|  | Name | Green fluorescence
|  | Excitation filter product number | VF48515
|  | Name | Green fluorescence EX
|  | Excitation wavelength [nm] | 485
|  | Emission filter product number | VF52515
|  | Name | Green fluorescence EM
|  | Emission wavelength [nm] | 525
|  | Permanent | Yes
|  | Scaling factor | 1
Filter pair
|  | Name | Orange fluorescence
|  | Excitation filter product number | VF55515
|  | Name | Orange fluorescence EX
|  | Excitation wavelength [nm] | 555
|  | Emission filter product number | VF61545
|  | Name | Orange fluorescence EM
|  | Emission wavelength [nm] | 615
|  | Permanent | Yes
|  | Scaling factor | 1
|  | Top optics | Yes
|  | Bottom optics | No
|  | Photometric monochromator | Yes
|  | Incubator | Yes

## Protocol parameters
Protocol parameters
| Measurement order | 1
| Check temperature at start [°C] | No
| Plate with lid | No
Shake 1
| Duration [hh:mm:ss]: | 00:00:20
| Shaking type | Continuous
| Shaking method | Orbital
| Shaking speed | Medium
Absorbance 1
| Wavelength [nm] | 450
| Use transmittance | No
| Measurement mode | Fast
| Pathlength correction | No

## Run log
Run log
| Time | Event | Information
| 2026-09-23T16:17:21-05:00 | Session Afsar.skax started
| 2026-09-23T16:17:22-05:00 | Temperature | 37.0°C
| 2026-09-23T16:17:22-05:00 | Step Shake 1 started
| 2026-09-23T16:17:38-05:00 | Temperature | 37.0°C
| 2026-09-23T16:17:45-05:00 | Step Shake 1 ended
| 2026-09-23T16:17:45-05:00 | Step Absorbance 1 started
| 2026-09-23T16:18:18-05:00 | Step Absorbance 1 ended
| 2026-09-23T16:18:18-05:00 | Temperature | 37.0°C
| 2026-09-23T16:18:23-05:00 | Session Afsar.skax ended

## Layout definitions
Name | Plate 1
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Std70001 | Std70001 | Un0002 | Un0003 | Un0004 | Un0005
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 3.125 ng/mL | 3.125 ng/mL | 1:1 | 1:1 | 1:1 | 1:1
B | Std60001 | Std60001 | Un0012 | Un0013 | Un0014 | Un0015
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 6.25 ng/mL | 6.25 ng/mL | 1:1 | 1:1 | 1:1 | 1:1
C | Std50001 | Std50001 | Un0022 | Un0023 | Un0024 | Un0025
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 12.5 ng/mL | 12.5 ng/mL | 1:1 | 1:1 | 1:1 | 1:1
D | Std40001 | Std40001 | Un0032 | Un0033 | Un0034 | Un0035
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 25 ng/mL | 25 ng/mL | 1:1 | 1:1 | 1:1 | 1:1
E | Std30001 | Std30001 | Un0042 | Un0043 | Un0044 | Un0045
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 50 ng/mL | 50 ng/mL | 1:1 | 1:1 | 1:1 | 1:1
F | Std20001 | Std20001 | Un0052 | Un0053 | Un0054 | Un0055
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 100 ng/mL | 100 ng/mL | 1:1 | 1:1 | 1:1 | 1:1
G | Std10001 | Std10001 | Un0062 | Un0063 | Un0064 | Un0065
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 200 2 | 200 2 | 1:1 | 1:1 | 1:1 | 1:1
H | Blank1 | Un0001 | Un0072 | Un0073 | Un0074 | Un0075
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1