## Absorbance 1_01
Measurement results
Human_Leptin_Invitrogen_09_26_26_first trial.skax
2026-09-25T17:03:13-05:00
Absorbance 1
Wavelength: 450 nm
Plate 1
Abs | 1 | 2 | 3 | 4 | 5 | 6
A | 0.0535 | 0.0541 | 0.0536 | 0.0533 | 0.2279 | 0.2357
B | 0.0527 | 0.0533 | 0.053 | 0.0532 | 0.2284 | 0.2237
C | 0.0532 | 0.0537 | 0.0556 | 0.0548 | 0.0519 | 0.0539
D | 0.0543 | 0.0538 | 0.0554 | 0.0555 | 0.0551 | 0.0554
E | 0.0546 | 0.0535 | 0.0566 | 0.055 | 0.0561 | 0.058
F | 0.0563 | 0.0529 | 0.0572 | 0.0546 | 0.0565 | 0.0554
G | 0.0538 | 0.0528 | 0.0518 | 0.0565 | 0.0548 | 0.1006
H | 0.0634 | 0.2279 | 0.0611 | 0.2264 | 0.2239 | 0.2324
Sample | 1 | 2 | 3 | 4 | 5 | 6
A | Std7 0.23 | Std7 0.23 | Serum 1X | Serum 1X | Sp4 3 (Serum 2500X) | Sp4 3 (Serum 2500X)
B | Std6 0.47 | Std6 0.47 | Serum 10X | Serum 10X | Sp5 3 (Serum 5000X) | Sp5 3 (Serum 5000X)
C | Std5 0.94 | Std5 0.94 | Serum 100X | Serum 100X | EtOH 1X | EtOH 10X
D | Std4 1.88 | Std4 1.88 | Serum 1000X | Serum 1000X | EtOH 100X | EtOH 1000X
E | Std3 3.75 | Std3 3.75 | Serum 2500X | Serum 2500X | EtOH 2500X | EtOH 2500X
F | Std2 7.5 | Std2 7.5 | Serum 5000X | Serum 5000X | EtOH 5000X | EtOH 5000X
G | Std1 15.0 | Std1 15.0 | Sp1 3 (Serum 1X) | Sp2 3 (Serum 10X) | Sp6 3 (EtOH 1X) | Sp7 3 (EtOH 10X)
H | Blank | Sp10 3 (EtOH 5000X) | Sp3 3 (Serum 1000X) | Sp3 3 (Serum 1000X) | Sp8 3 (EtOH 1000X) | Sp9 3 (EtOH 2500X)
Autoloading range A1 - M28 |  |  |  |  | EtOH = ethanol extracted serum
Sp = spike

## Standard Curve 1_02
Measurement results
Human_Leptin_Invitrogen_09_26_26_first trial.skax
2026-09-25T17:03:13-05:00
Standard Curve 1
Fit type: 4PL
Concentration transformation: Logarithmic
Signal transformation: Linear
Wavelength: 450 nm
Saved curve: No
Sample group: Group 1
Low R2. Curve fit is not statistically significant.
y = 0.0539874 + ( (0.0533889 - 0.0539874) / ( 1 + (x/0.987927)^42.7219) )
y = d + ( (a - d) / ( 1 + (x/c)^b) )
Where:
a = | 0.053389
b = | 42.7219
c = | 0.98793
d = | 0.053987
R²: 0.322
Well | Sample | Conc. [ng/mL] | Original signal | CV% | Fitted signal | Residual
Average | Std10001 | 15 | 0.053278 | 1.3251 | 0.053987 | -0.00070893
G01 | Std10001 | 15 | 0.053778 |  | 0.053987 | -0.00020972
G02 | Std10001 | 15 | 0.052779 |  | 0.053987 | -0.0012081
Average | Std20001 | 7.5 | 0.054603 | 4.3469 | 0.053987 | 0.00061593
F01 | Std20001 | 7.5 | 0.056282 |  | 0.053987 | 0.0022943
F02 | Std20001 | 7.5 | 0.052925 |  | 0.053987 | -0.0010624
Average | Std30001 | 3.75 | 0.054023 | 1.4754 | 0.053987 | 3.5075e-05
E01 | Std30001 | 3.75 | 0.054586 |  | 0.053987 | 0.00059868
E02 | Std30001 | 3.75 | 0.053459 |  | 0.053987 | -0.00052852
Average | Std40001 | 1.875 | 0.054045 | 0.57345 | 0.053987 | 5.7925e-05
D01 | Std40001 | 1.875 | 0.054265 |  | 0.053987 | 0.00027707
D02 | Std40001 | 1.875 | 0.053826 |  | 0.053987 | -0.00016123
Average | Std50001 | 0.9375 | 0.053447 | 0.73348 | 0.053447 | -1.1492e-13
C01 | Std50001 | 0.9375 | 0.053169 |  | 0.053447 | -0.0002772
C02 | Std50001 | 0.9375 | 0.053724 |  | 0.053447 | 0.0002772
Average | Std60001 | 0.46875 | 0.052984 | 0.73441 | 0.053389 | -0.00040478
B01 | Std60001 | 0.46875 | 0.052709 |  | 0.053389 | -0.00067992
B02 | Std60001 | 0.46875 | 0.053259 |  | 0.053389 | -0.00012962
Average | Std70001 | 0.23438 | 0.053794 | 0.90278 | 0.053389 | 0.00040478
A01 | Std70001 | 0.23438 | 0.05345 |  | 0.053389 | 6.1375e-05
A02 | Std70001 | 0.23438 | 0.054137 |  | 0.053389 | 0.00074818
Plate 1
Signal | 1 | 2 | 3 | 4 | 5 | 6
A | 0.05345 | 0.054137 | 0.053576 | 0.053323 | 0.22792 | 0.23567
B | 0.052709 | 0.053259 | 0.05303 | 0.053242 | 0.22841 | 0.22371
C | 0.053169 | 0.053724 | 0.055573 | 0.054823 | 0.051855 | 0.053912
D | 0.054265 | 0.053826 | 0.05539 | 0.05546 | 0.055119 | 0.055369
E | 0.054586 | 0.053459 | 0.056621 | 0.054949 | 0.056112 | 0.05799
F | 0.056282 | 0.052925 | 0.057173 | 0.054622 | 0.056518 | 0.055382
G | 0.053778 | 0.052779 | 0.051819 | 0.056509 | 0.054768 | 0.10061
H |  | 0.22795 | 0.061091 | 0.22642 | 0.22389 | 0.23242
Conc. [ng/mL] | 1 | 2 | 3 | 4 | 5 | 6
A | 0.93902 | < Min | 0.96983 | > Max | < Min | < Min
B | > Max | > Max | > Max | > Max | < Min | < Min
C | > Max | 0.99347 | < Min | < Min | > Max | 1.0336
D | < Min | 1.0113 | < Min | < Min | < Min | < Min
E | < Min | 0.94226 | < Min | < Min | < Min | < Min
F | < Min | > Max | < Min | < Min | < Min | < Min
G | 1.0023 | > Max | > Max | < Min | < Min | < Min
H |  | < Min | < Min | < Min | < Min | < Min
Sample | 1 | 2 | 3 | 4 | 5 | 6
A | Std7 0.23 | Std7 0.23 | Serum 1X | Serum 1X | Sp4 3 (Serum 2500X) | Sp4 3 (Serum 2500X)
B | Std6 0.47 | Std6 0.47 | Serum 10X | Serum 10X | Sp5 3 (Serum 5000X) | Sp5 3 (Serum 5000X)
C | Std5 0.94 | Std5 0.94 | Serum 100X | Serum 100X | EtOH 1X | EtOH 10X
D | Std4 1.88 | Std4 1.88 | Serum 1000X | Serum 1000X | EtOH 100X | EtOH 1000X
E | Std3 3.75 | Std3 3.75 | Serum 2500X | Serum 2500X | EtOH 2500X | EtOH 2500X
F | Std2 7.5 | Std2 7.5 | Serum 5000X | Serum 5000X | EtOH 5000X | EtOH 5000X
G | Std1 15.0 | Std1 15.0 | Sp1 3 (Serum 1X) | Sp2 3 (Serum 10X) | Sp6 3 (EtOH 1X) | Sp7 3 (EtOH 10X)
H | Blank | Sp10 3 (EtOH 5000X) | Sp3 3 (Serum 1000X) | Sp3 3 (Serum 1000X) | Sp8 3 (EtOH 1000X) | Sp9 3 (EtOH 2500X)
Autoloading range A1 - M102 |  |  |  |  | EtOH = ethanol extracted serum
Sp = spike

## Blank Subtraction 1_03
Measurement results
Human_Leptin_Invitrogen_09_26_26_first trial.skax
2026-09-25T17:03:13-05:00
Blank Subtraction 1
Wavelength: 450 nm
Plate 1
Blank subtracted | 1 | 2 | 3 | 4 | 5 | 6
A | -0.0099499 | -0.0092631 | -0.0098244 | -0.010078 | 0.16452 | 0.17227
B | -0.010691 | -0.010141 | -0.01037 | -0.010158 | 0.16501 | 0.16031
C | -0.010231 | -0.0096764 | -0.0078273 | -0.008577 | -0.011545 | -0.0094887
D | -0.0091357 | -0.009574 | -0.0080101 | -0.00794 | -0.0082809 | -0.0080309
E | -0.0088141 | -0.0099413 | -0.0067793 | -0.0084514 | -0.0072879 | -0.0054099
F | -0.0071185 | -0.010475 | -0.0062268 | -0.0087783 | -0.0068823 | -0.0080183
G | -0.0096225 | -0.010621 | -0.011581 | -0.0068912 | -0.0086317 | 0.037209
H | 0 | 0.16455 | -0.0023087 | 0.16302 | 0.16049 | 0.16902
Sample | 1 | 2 | 3 | 4 | 5 | 6
A | Std7 0.23 | Std7 0.23 | Serum 1X | Serum 1X | Sp4 3 (Serum 2500X) | Sp4 3 (Serum 2500X)
B | Std6 0.47 | Std6 0.47 | Serum 10X | Serum 10X | Sp5 3 (Serum 5000X) | Sp5 3 (Serum 5000X)
C | Std5 0.94 | Std5 0.94 | Serum 100X | Serum 100X | EtOH 1X | EtOH 10X
D | Std4 1.88 | Std4 1.88 | Serum 1000X | Serum 1000X | EtOH 100X | EtOH 1000X
E | Std3 3.75 | Std3 3.75 | Serum 2500X | Serum 2500X | EtOH 2500X | EtOH 2500X
F | Std2 7.5 | Std2 7.5 | Serum 5000X | Serum 5000X | EtOH 5000X | EtOH 5000X
G | Std1 15.0 | Std1 15.0 | Sp1 3 (Serum 1X) | Sp2 3 (Serum 10X) | Sp6 3 (EtOH 1X) | Sp7 3 (EtOH 10X)
H | Blank | Sp10 3 (EtOH 5000X) | Sp3 3 (Serum 1000X) | Sp3 3 (Serum 1000X) | Sp8 3 (EtOH 1000X) | Sp9 3 (EtOH 2500X)
Autoloading range A1 - M31 |  |  |  |  | EtOH = ethanol extracted serum
Sp = spike

## Standard Curve 2_04
Measurement results
Human_Leptin_Invitrogen_09_26_26_first trial.skax
2026-09-25T17:03:13-05:00
Standard Curve 2
Fit type: Linear Regression
Use extrapolation: No
Force line through origin: No
Concentration transformation: Linear
Signal transformation: Linear
Wavelength: 450 nm
Saved curve: No
Sample group: Group 1
Low R2. Curve fit is not statistically significant.
y = 3.41746E-06x - 0.00967557
y = ax + b
Where:
a = | 3.4175e-06
b = | -0.0096756
R²: 0.001
Well | Sample | Conc. [ng/mL] | Original signal | CV% | Fitted signal | Residual
Average | Std10001 | 15 | -0.010122 | 6.9749 | -0.0096243 | -0.00049739
G01 | Std10001 | 15 | -0.0096225 |  | -0.0096243 | 1.8057e-06
G02 | Std10001 | 15 | -0.010621 |  | -0.0096243 | -0.00099659
Average | Std20001 | 7.5 | -0.0087969 | 26.9818 | -0.0096499 | 0.00085309
F01 | Std20001 | 7.5 | -0.0071185 |  | -0.0096499 | 0.0025314
F02 | Std20001 | 7.5 | -0.010475 |  | -0.0096499 | -0.00082526
Average | Std30001 | 3.75 | -0.0093777 | 8.4994 | -0.0096627 | 0.00028505
E01 | Std30001 | 3.75 | -0.0088141 |  | -0.0096627 | 0.00084865
E02 | Std30001 | 3.75 | -0.0099413 |  | -0.0096627 | -0.00027855
Average | Std40001 | 1.875 | -0.0093548 | 3.313 | -0.0096692 | 0.00031431
D01 | Std40001 | 1.875 | -0.0091357 |  | -0.0096692 | 0.00053346
D02 | Std40001 | 1.875 | -0.009574 |  | -0.0096692 | 9.516e-05
Average | Std50001 | 0.9375 | -0.0099536 | 3.9385 | -0.0096724 | -0.00028124
C01 | Std50001 | 0.9375 | -0.010231 |  | -0.0096724 | -0.00055844
C02 | Std50001 | 0.9375 | -0.0096764 |  | -0.0096724 | -4.0363e-06
Average | Std60001 | 0.46875 | -0.010416 | 3.7358 | -0.009674 | -0.00074208
B01 | Std60001 | 0.46875 | -0.010691 |  | -0.009674 | -0.0010172
B02 | Std60001 | 0.46875 | -0.010141 |  | -0.009674 | -0.00046693
Average | Std70001 | 0.23438 | -0.0096065 | 5.0553 | -0.0096748 | 6.8267e-05
A01 | Std70001 | 0.23438 | -0.0099499 |  | -0.0096748 | -0.00027513
A02 | Std70001 | 0.23438 | -0.0092631 |  | -0.0096748 | 0.00041167
Plate 1
Signal | 1 | 2 | 3 | 4 | 5 | 6
A | -0.0099499 | -0.0092631 | -0.0098244 | -0.010078 | 0.16452 | 0.17227
B | -0.010691 | -0.010141 | -0.01037 | -0.010158 | 0.16501 | 0.16031
C | -0.010231 | -0.0096764 | -0.0078273 | -0.008577 | -0.011545 | -0.0094887
D | -0.0091357 | -0.009574 | -0.0080101 | -0.00794 | -0.0082809 | -0.0080309
E | -0.0088141 | -0.0099413 | -0.0067793 | -0.0084514 | -0.0072879 | -0.0054099
F | -0.0071185 | -0.010475 | -0.0062268 | -0.0087783 | -0.0068823 | -0.0080183
G | -0.0096225 | -0.010621 | -0.011581 | -0.0068912 | -0.0086317 | 0.037209
H |  | 0.16455 | -0.0023087 | 0.16302 | 0.16049 | 0.16902
Conc. [ng/mL] | 1 | 2 | 3 | 4 | 5 | 6
A | < Min | > Max | < Min | < Min | > Max | > Max
B | < Min | < Min | < Min | < Min | > Max | > Max
C | < Min | < Min | > Max | > Max | < Min | > Max
D | > Max | > Max | > Max | > Max | > Max | > Max
E | > Max | < Min | > Max | > Max | > Max | > Max
F | > Max | < Min | > Max | > Max | > Max | > Max
G | > Max | < Min | < Min | > Max | > Max | > Max
H |  | > Max | > Max | > Max | > Max | > Max
Sample | 1 | 2 | 3 | 4 | 5 | 6
A | Std7 0.23 | Std7 0.23 | Serum 1X | Serum 1X | Sp4 3 (Serum 2500X) | Sp4 3 (Serum 2500X)
B | Std6 0.47 | Std6 0.47 | Serum 10X | Serum 10X | Sp5 3 (Serum 5000X) | Sp5 3 (Serum 5000X)
C | Std5 0.94 | Std5 0.94 | Serum 100X | Serum 100X | EtOH 1X | EtOH 10X
D | Std4 1.88 | Std4 1.88 | Serum 1000X | Serum 1000X | EtOH 100X | EtOH 1000X
E | Std3 3.75 | Std3 3.75 | Serum 2500X | Serum 2500X | EtOH 2500X | EtOH 2500X
F | Std2 7.5 | Std2 7.5 | Serum 5000X | Serum 5000X | EtOH 5000X | EtOH 5000X
G | Std1 15.0 | Std1 15.0 | Sp1 3 (Serum 1X) | Sp2 3 (Serum 10X) | Sp6 3 (EtOH 1X) | Sp7 3 (EtOH 10X)
H | Blank | Sp10 3 (EtOH 5000X) | Sp3 3 (Serum 1000X) | Sp3 3 (Serum 1000X) | Sp8 3 (EtOH 1000X) | Sp9 3 (EtOH 2500X)
Autoloading range A1 - M102 |  |  |  |  | EtOH = ethanol extracted serum
Sp = spike

## Absorbance 2_05
Measurement results
Human_Leptin_Invitrogen_09_26_26_first trial.skax
2026-09-25T17:03:13-05:00
Absorbance 2
Wavelength: 620 nm
Plate 1
Abs | 1 | 2 | 3 | 4 | 5 | 6
A | 0.0413 | 0.0416 | 0.0398 | 0.0405 | 0.0418 | 0.0419
B | 0.0417 | 0.0413 | 0.0419 | 0.0424 | 0.0418 | 0.0435
C | 0.0422 | 0.0427 | 0.0417 | 0.0417 | 0.0408 | 0.0424
D | 0.0431 | 0.0426 | 0.0411 | 0.041 | 0.0422 | 0.0422
E | 0.043 | 0.0417 | 0.0425 | 0.0428 | 0.041 | 0.0443
F | 0.0434 | 0.0414 | 0.0419 | 0.0419 | 0.0421 | 0.0419
G | 0.0416 | 0.0418 | 0.041 | 0.0434 | 0.0418 | 0.0418
H | 0.0429 | 0.0408 | 0.0413 | 0.0401 | 0.0397 | 0.0421
Sample | 1 | 2 | 3 | 4 | 5 | 6
A | Std7 0.23 | Std7 0.23 | Serum 1X | Serum 1X | Sp4 3 (Serum 2500X) | Sp4 3 (Serum 2500X)
B | Std6 0.47 | Std6 0.47 | Serum 10X | Serum 10X | Sp5 3 (Serum 5000X) | Sp5 3 (Serum 5000X)
C | Std5 0.94 | Std5 0.94 | Serum 100X | Serum 100X | EtOH 1X | EtOH 10X
D | Std4 1.88 | Std4 1.88 | Serum 1000X | Serum 1000X | EtOH 100X | EtOH 1000X
E | Std3 3.75 | Std3 3.75 | Serum 2500X | Serum 2500X | EtOH 2500X | EtOH 2500X
F | Std2 7.5 | Std2 7.5 | Serum 5000X | Serum 5000X | EtOH 5000X | EtOH 5000X
G | Std1 15.0 | Std1 15.0 | Sp1 3 (Serum 1X) | Sp2 3 (Serum 10X) | Sp6 3 (EtOH 1X) | Sp7 3 (EtOH 10X)
H | Blank | Sp10 3 (EtOH 5000X) | Sp3 3 (Serum 1000X) | Sp3 3 (Serum 1000X) | Sp8 3 (EtOH 1000X) | Sp9 3 (EtOH 2500X)
Autoloading range A1 - M28 |  |  |  |  | EtOH = ethanol extracted serum
Sp = spike

## Basic Calculation 1_06
Measurement results
Human_Leptin_Invitrogen_09_26_26_first trial.skax
2026-09-25T17:03:13-05:00
Basic Calculation 1
Calculation type: Subtraction
Data source A: Absorbance 1 | Wavelength: 450 nm
Data source B: Absorbance 2 | Wavelength: 620 nm
Plate 1
Calculated | 1 | 2 | 3 | 4 | 5 | 6
A | 0.012162 | 0.01258 | 0.013798 | 0.012791 | 0.18611 | 0.19378
B | 0.011037 | 0.011987 | 0.01117 | 0.010872 | 0.18666 | 0.18024
C | 0.011003 | 0.011069 | 0.013895 | 0.013084 | 0.011061 | 0.01148
D | 0.011214 | 0.011203 | 0.014247 | 0.014513 | 0.01289 | 0.013199
E | 0.011621 | 0.011771 | 0.014089 | 0.012177 | 0.015127 | 0.013732
F | 0.01284 | 0.011575 | 0.0153 | 0.012761 | 0.014407 | 0.013488
G | 0.012205 | 0.010971 | 0.010788 | 0.013066 | 0.012925 | 0.058772
H | 0.02046 | 0.18714 | 0.019775 | 0.18629 | 0.18422 | 0.19029
Sample | 1 | 2 | 3 | 4 | 5 | 6
A | Std7 0.23 | Std7 0.23 | Serum 1X | Serum 1X | Sp4 3 (Serum 2500X) | Sp4 3 (Serum 2500X)
B | Std6 0.47 | Std6 0.47 | Serum 10X | Serum 10X | Sp5 3 (Serum 5000X) | Sp5 3 (Serum 5000X)
C | Std5 0.94 | Std5 0.94 | Serum 100X | Serum 100X | EtOH 1X | EtOH 10X
D | Std4 1.88 | Std4 1.88 | Serum 1000X | Serum 1000X | EtOH 100X | EtOH 1000X
E | Std3 3.75 | Std3 3.75 | Serum 2500X | Serum 2500X | EtOH 2500X | EtOH 2500X
F | Std2 7.5 | Std2 7.5 | Serum 5000X | Serum 5000X | EtOH 5000X | EtOH 5000X
G | Std1 15.0 | Std1 15.0 | Sp1 3 (Serum 1X) | Sp2 3 (Serum 10X) | Sp6 3 (EtOH 1X) | Sp7 3 (EtOH 10X)
H | Blank | Sp10 3 (EtOH 5000X) | Sp3 3 (Serum 1000X) | Sp3 3 (Serum 1000X) | Sp8 3 (EtOH 1000X) | Sp9 3 (EtOH 2500X)
Autoloading range A1 - M32 |  |  |  | EtOH = ethanol extracted serum
Sp = spike

## Standard Curve 3_07
Measurement results
Human_Leptin_Invitrogen_09_26_26_first trial.skax
2026-09-25T17:03:13-05:00
Standard Curve 3
Fit type: 4PL
Concentration transformation: Logarithmic
Signal transformation: Linear
Saved curve: No
Sample group: Group 1
Low R2. Curve fit is not statistically significant.
y = 0.0252323 + ( (0.0115412 - 0.0252323) / ( 1 + (x/0.216691)^-34.9345) )
y = d + ( (a - d) / ( 1 + (x/c)^b) )
Where:
a = | 0.011541
b = | -34.9345
c = | 0.21669
d = | 0.025232
R²: 0.413
Well | Sample | Conc. [ng/mL] | Original signal | CV% | Fitted signal | Residual
Average | Std10001 | 15 | 0.011588 | 7.5312 | 0.011541 | 4.6658e-05
G01 | Std10001 | 15 | 0.012205 |  | 0.011541 | 0.00066376
G02 | Std10001 | 15 | 0.010971 |  | 0.011541 | -0.00057044
Average | Std20001 | 7.5 | 0.012207 | 7.3298 | 0.011541 | 0.00066606
F01 | Std20001 | 7.5 | 0.01284 |  | 0.011541 | 0.0012988
F02 | Std20001 | 7.5 | 0.011575 |  | 0.011541 | 3.3358e-05
Average | Std30001 | 3.75 | 0.011696 | 0.90442 | 0.011541 | 0.00015496
E01 | Std30001 | 3.75 | 0.011621 |  | 0.011541 | 8.0158e-05
E02 | Std30001 | 3.75 | 0.011771 |  | 0.011541 | 0.00022976
Average | Std40001 | 1.875 | 0.011208 | 0.068764 | 0.011541 | -0.00033269
D01 | Std40001 | 1.875 | 0.011214 |  | 0.011541 | -0.00032724
D02 | Std40001 | 1.875 | 0.011203 |  | 0.011541 | -0.00033814
Average | Std50001 | 0.9375 | 0.011036 | 0.42033 | 0.011541 | -0.00050554
C01 | Std50001 | 0.9375 | 0.011003 |  | 0.011541 | -0.00053834
C02 | Std50001 | 0.9375 | 0.011069 |  | 0.011541 | -0.00047274
Average | Std60001 | 0.46875 | 0.011512 | 5.8316 | 0.011541 | -2.9442e-05
B01 | Std60001 | 0.46875 | 0.011037 |  | 0.011541 | -0.00050414
B02 | Std60001 | 0.46875 | 0.011987 |  | 0.011541 | 0.00044526
Average | Std70001 | 0.23438 | 0.012371 | 2.3926 | 0.012371 | -6.2869e-11
A01 | Std70001 | 0.23438 | 0.012162 |  | 0.012371 | -0.0002093
A02 | Std70001 | 0.23438 | 0.01258 |  | 0.012371 | 0.0002093
Plate 1
Signal | 1 | 2 | 3 | 4 | 5 | 6
A | 0.012162 | 0.01258 | 0.013798 | 0.012791 | 0.18611 | 0.19378
B | 0.011037 | 0.011987 | 0.01117 | 0.010872 | 0.18666 | 0.18024
C | 0.011003 | 0.011069 | 0.013895 | 0.013084 | 0.011061 | 0.01148
D | 0.011214 | 0.011203 | 0.014247 | 0.014513 | 0.01289 | 0.013199
E | 0.011621 | 0.011771 | 0.014089 | 0.012177 | 0.015127 | 0.013732
F | 0.01284 | 0.011575 | 0.0153 | 0.012761 | 0.014407 | 0.013488
G | 0.012205 | 0.010971 | 0.010788 | 0.013066 | 0.012925 | 0.058772
H |  | 0.18714 | 0.019775 | 0.18629 | 0.18422 | 0.19029
Conc. [ng/mL] | 1 | 2 | 3 | 4 | 5 | 6
A | 0.23644 | 0.23276 | 0.22699 | 0.23142 | < Min | < Min
B | > Max | 0.23879 | > Max | > Max | < Min | < Min
C | > Max | > Max | 0.22667 | 0.22988 | > Max | > Max
D | > Max | > Max | 0.22556 | 0.2248 | 0.23087 | 0.22934
E | 0.251 | 0.24347 | 0.22604 | 0.23628 | 0.22321 | 0.22723
F | 0.23114 | 0.2574 | 0.2228 | 0.2316 | 0.22509 | 0.22813
G | 0.23597 | > Max | > Max | 0.22996 | 0.23068 | < Min
H |  | < Min | 0.21416 | < Min | < Min | < Min
Sample | 1 | 2 | 3 | 4 | 5 | 6
A | Std7 0.23 | Std7 0.23 | Serum 1X | Serum 1X | Sp4 3 (Serum 2500X) | Sp4 3 (Serum 2500X)
B | Std6 0.47 | Std6 0.47 | Serum 10X | Serum 10X | Sp5 3 (Serum 5000X) | Sp5 3 (Serum 5000X)
C | Std5 0.94 | Std5 0.94 | Serum 100X | Serum 100X | EtOH 1X | EtOH 10X
D | Std4 1.88 | Std4 1.88 | Serum 1000X | Serum 1000X | EtOH 100X | EtOH 1000X
E | Std3 3.75 | Std3 3.75 | Serum 2500X | Serum 2500X | EtOH 2500X | EtOH 2500X
F | Std2 7.5 | Std2 7.5 | Serum 5000X | Serum 5000X | EtOH 5000X | EtOH 5000X
G | Std1 15.0 | Std1 15.0 | Sp1 3 (Serum 1X) | Sp2 3 (Serum 10X) | Sp6 3 (EtOH 1X) | Sp7 3 (EtOH 10X)
H | Blank | Sp10 3 (EtOH 5000X) | Sp3 3 (Serum 1000X) | Sp3 3 (Serum 1000X) | Sp8 3 (EtOH 1000X) | Sp9 3 (EtOH 2500X)
Autoloading range A1 - M101 |  |  |  |  | EtOH = ethanol extracted serum
Sp = spike

## Blank Subtraction 2_08
Measurement results
Human_Leptin_Invitrogen_09_26_26_first trial.skax
2026-09-25T17:03:13-05:00
Blank Subtraction 2
Plate 1
Blank subtracted | 1 | 2 | 3 | 4 | 5 | 6
A | -0.0082986 | -0.00788 | -0.0066623 | -0.0076693 | 0.16565 | 0.17332
B | -0.0094234 | -0.008474 | -0.0092905 | -0.0095887 | 0.1662 | 0.15978
C | -0.0094576 | -0.009392 | -0.0065655 | -0.0073769 | -0.0093995 | -0.008981
D | -0.0092465 | -0.0092574 | -0.0062139 | -0.0059472 | -0.0075705 | -0.0072619
E | -0.0088391 | -0.0086895 | -0.0063719 | -0.0082838 | -0.0053332 | -0.0067287
F | -0.0076205 | -0.0088859 | -0.0051605 | -0.0076991 | -0.0060535 | -0.0069723
G | -0.0082555 | -0.0094897 | -0.0096721 | -0.0073943 | -0.007536 | 0.038312
H | 0 | 0.16668 | -0.0006853 | 0.16583 | 0.16376 | 0.16982
Sample | 1 | 2 | 3 | 4 | 5 | 6
A | Std7 0.23 | Std7 0.23 | Serum 1X | Serum 1X | Sp4 3 (Serum 2500X) | Sp4 3 (Serum 2500X)
B | Std6 0.47 | Std6 0.47 | Serum 10X | Serum 10X | Sp5 3 (Serum 5000X) | Sp5 3 (Serum 5000X)
C | Std5 0.94 | Std5 0.94 | Serum 100X | Serum 100X | EtOH 1X | EtOH 10X
D | Std4 1.88 | Std4 1.88 | Serum 1000X | Serum 1000X | EtOH 100X | EtOH 1000X
E | Std3 3.75 | Std3 3.75 | Serum 2500X | Serum 2500X | EtOH 2500X | EtOH 2500X
F | Std2 7.5 | Std2 7.5 | Serum 5000X | Serum 5000X | EtOH 5000X | EtOH 5000X
G | Std1 15.0 | Std1 15.0 | Sp1 3 (Serum 1X) | Sp2 3 (Serum 10X) | Sp6 3 (EtOH 1X) | Sp7 3 (EtOH 10X)
H | Blank | Sp10 3 (EtOH 5000X) | Sp3 3 (Serum 1000X) | Sp3 3 (Serum 1000X) | Sp8 3 (EtOH 1000X) | Sp9 3 (EtOH 2500X)
Autoloading range A1 - M29 |  |  |  |  | EtOH = ethanol extracted serum
Sp = spike

## Standard Curve 4_09
Measurement results
Human_Leptin_Invitrogen_09_26_26_first trial.skax
2026-09-25T17:03:13-05:00
Standard Curve 4
Fit type: 4PL
Concentration transformation: Logarithmic
Signal transformation: Linear
Saved curve: No
Sample group: Group 1
Low R2. Curve fit is not statistically significant.
y = 0.00477182 + ( (-0.00891926 - 0.00477182) / ( 1 + (x/0.216691)^-34.9345) )
y = d + ( (a - d) / ( 1 + (x/c)^b) )
Where:
a = | -0.0089193
b = | -34.9345
c = | 0.21669
d = | 0.0047718
R²: 0.413
Well | Sample | Conc. [ng/mL] | Original signal | CV% | Fitted signal | Residual
Average | Std10001 | 15 | -0.0088726 | 9.836 | -0.0089193 | 4.6658e-05
G01 | Std10001 | 15 | -0.0082555 |  | -0.0089193 | 0.00066376
G02 | Std10001 | 15 | -0.0094897 |  | -0.0089193 | -0.00057044
Average | Std20001 | 7.5 | -0.0082532 | 10.8415 | -0.0089193 | 0.00066606
F01 | Std20001 | 7.5 | -0.0076205 |  | -0.0089193 | 0.0012988
F02 | Std20001 | 7.5 | -0.0088859 |  | -0.0089193 | 3.3358e-05
Average | Std30001 | 3.75 | -0.0087643 | 1.207 | -0.0089193 | 0.00015496
E01 | Std30001 | 3.75 | -0.0088391 |  | -0.0089193 | 8.0158e-05
E02 | Std30001 | 3.75 | -0.0086895 |  | -0.0089193 | 0.00022976
Average | Std40001 | 1.875 | -0.009252 | 0.083306 | -0.0089193 | -0.00033269
D01 | Std40001 | 1.875 | -0.0092465 |  | -0.0089193 | -0.00032724
D02 | Std40001 | 1.875 | -0.0092574 |  | -0.0089193 | -0.00033814
Average | Std50001 | 0.9375 | -0.0094248 | 0.49217 | -0.0089193 | -0.00050554
C01 | Std50001 | 0.9375 | -0.0094576 |  | -0.0089193 | -0.00053834
C02 | Std50001 | 0.9375 | -0.009392 |  | -0.0089193 | -0.00047274
Average | Std60001 | 0.46875 | -0.0089487 | 7.5019 | -0.0089193 | -2.9442e-05
B01 | Std60001 | 0.46875 | -0.0094234 |  | -0.0089193 | -0.00050414
B02 | Std60001 | 0.46875 | -0.008474 |  | -0.0089193 | 0.00044526
Average | Std70001 | 0.23438 | -0.0080893 | 3.6591 | -0.0080893 | -6.2869e-11
A01 | Std70001 | 0.23438 | -0.0082986 |  | -0.0080893 | -0.0002093
A02 | Std70001 | 0.23438 | -0.00788 |  | -0.0080893 | 0.0002093
Plate 1
Signal | 1 | 2 | 3 | 4 | 5 | 6
A | -0.0082986 | -0.00788 | -0.0066623 | -0.0076693 | 0.16565 | 0.17332 |  | For Regular Serum
B | -0.0094234 | -0.008474 | -0.0092905 | -0.0095887 | 0.1662 | 0.15978 | Calculation of dilution linearity recovery
C | -0.0094576 | -0.009392 | -0.0065655 | -0.0073769 | -0.0093995 | -0.008981 | Dilution factor | Measured | Corrected | Recovery (%)
D | -0.0092465 | -0.0092574 | -0.0062139 | -0.0059472 | -0.0075705 | -0.0072619 | 1 | <min
E | -0.0088391 | -0.0086895 | -0.0063719 | -0.0082838 | -0.0053332 | -0.0067287 | 10 | <min
F | -0.0076205 | -0.0088859 | -0.0051605 | -0.0076991 | -0.0060535 | -0.0069723 | 100 | <min
G | -0.0082555 | -0.0094897 | -0.0096721 | -0.0073943 | -0.007536 | 0.038312 | 1000 | <min
H |  | 0.16668 | -0.0006853 | 0.16583 | 0.16376 | 0.16982 | 2500 | <min
Conc. [ng/mL] | 1 | 2 | 3 | 4 | 5 | 6 | Calculation of spike recovery
A | 0.23644 | 0.23276 | 0.22699 | 0.23142 | < Min | < Min |  | Expected | Experimental | Recovery (%)
B | > Max | 0.23879 | > Max | > Max | < Min | < Min | Spike 1 (Serum 1X) | 3
C | > Max | > Max | 0.22667 | 0.22988 | > Max | > Max | Spike 2 (Serum 10X) | 3
D | > Max | > Max | 0.22556 | 0.2248 | 0.23087 | 0.22934 | Spike 3 (Serum 1000X) | 3 |  |  | Spikes Preparation
E | 0.251 | 0.24347 | 0.22604 | 0.23628 | 0.22321 | 0.22723 | Spike 4 (Serum 2500X | 3 |  |  | Sample vol (uL) | Std vol (uL) | Std Conc (ng/mL) | Spike Conc (ng/mL)
F | 0.23114 | 0.2574 | 0.2228 | 0.2316 | 0.22509 | 0.22813 | Spike 5 (Serum 5000X | 3 |  |  | 135 | 15 | 30 | 3
G | 0.23597 | > Max | > Max | 0.22996 | 0.23068 | < Min
H |  | < Min | 0.21416 | < Min | < Min | < Min |  | Serum treated with EtOH
Calculation of dilution linearity recovery
Sample | 1 | 2 | 3 | 4 | 5 | 6 | Dilution factor | Measured | Corrected | Recovery (%)
A | Std7 0.23 | Std7 0.23 | Serum 1X | Serum 1X | Sp4 3 (Serum 2500X) | Sp4 3 (Serum 2500X) | 1 | <min
B | Std6 0.47 | Std6 0.47 | Serum 10X | Serum 10X | Sp5 3 (Serum 5000X) | Sp5 3 (Serum 5000X) | 10 | <min
C | Std5 0.94 | Std5 0.94 | Serum 100X | Serum 100X | EtOH 1X | EtOH 10X | 100 | <min
D | Std4 1.88 | Std4 1.88 | Serum 1000X | Serum 1000X | EtOH 100X | EtOH 1000X | 1000 | <min
E | Std3 3.75 | Std3 3.75 | Serum 2500X | Serum 2500X | EtOH 2500X | EtOH 2500X | 2500 | <min
F | Std2 7.5 | Std2 7.5 | Serum 5000X | Serum 5000X | EtOH 5000X | EtOH 5000X
G | Std1 15.0 | Std1 15.0 | Sp1 3 (Serum 1X) | Sp2 3 (Serum 10X) | Sp6 3 (EtOH 1X) | Sp7 3 (EtOH 10X) | Calculation of spike recovery
H | Blank | Sp10 3 (EtOH 5000X) | Sp3 3 (Serum 1000X) | Sp3 3 (Serum 1000X) | Sp8 3 (EtOH 1000X) | Sp9 3 (EtOH 2500X) |  | Expected | Experimental | Recovery (%)
[7 empty] | Spike 6 (EtOH 1X) | 3
Autoloading range A1 - M101 |  |  |  |  | EtOH = ethanol extracted serum |  | Spike 7 (EtOH 10X) | 3
[5 empty] | Sp = spike |  | Spike 8 (EtOH 1000X | 3
[7 empty] | Spike 9 (EtOH 2500X) | 3
[7 empty] | Spike 10 (EtOH 5000X | 3

## General information
General information
| Report generated with SW version | SkanIt Software 7.1 RE for Microplate Readers RE, ver. 7.1.0.36
| Time zone | (UTC-06:00) Central Time (US & Canada). Daylight saving time in effect: Offset from UTC is -05:00

## Session information
Session information
| Session name | Human_Leptin_Invitrogen_09_26_26_first trial.skax
| Session notes | Human Adiponectin_Invitrogen_09_25_26
| Executed with | SkanIt Software for Microplate Readers RE, ver 7.1.0.36
| Execution time | 2026-09-25T17:03:13-05:00

## Instrument information
Instrument information
| Name |  | Varioskan ALF
| ESW version |  | 1.00.6
| Set temperature |  | 37.00 °C
| Serial number |  | 3500-00622
Instrument modules
Excitation filter
|  | Excitation filter product number | VF34525
|  | Name | Blue fluorescence EX
|  | Excitation wavelength [nm] | 345
|  | Bandwidth | 25
|  | Permanent | Yes
|  | Date and time of definition | 11/13/2025 10:30:00 AM
Excitation filter
|  | Excitation filter product number | VF48515
|  | Name | Green fluorescence EX
|  | Excitation wavelength [nm] | 485
|  | Bandwidth | 15
|  | Permanent | Yes
|  | Date and time of definition | 11/13/2025 10:30:00 AM
Excitation filter
|  | Excitation filter product number | VF55515
|  | Name | Orange fluorescence EX
|  | Excitation wavelength [nm] | 555
|  | Bandwidth | 15
|  | Permanent | Yes
|  | Date and time of definition | 11/13/2025 10:30:00 AM
Emission filter
|  | Emission filter product number | VF45040
|  | Name | Blue fluorescence EM
|  | Emission wavelength [nm] | 450
|  | Bandwidth | 40
|  | Permanent | Yes
|  | Date and time of definition | 11/13/2025 10:30:00 AM
Emission filter
|  | Emission filter product number | VF52515
|  | Name | Green fluorescence EM
|  | Emission wavelength [nm] | 525
|  | Bandwidth | 15
|  | Permanent | Yes
|  | Date and time of definition | 11/13/2025 10:30:00 AM
Emission filter
|  | Emission filter product number | VF61545
|  | Name | Orange fluorescence EM
|  | Emission wavelength [nm] | 615
|  | Bandwidth | 45
|  | Permanent | Yes
|  | Date and time of definition | 11/13/2025 10:30:00 AM
Filter pair
|  | Name | Blue fluorescence
|  | Excitation filter product number | VF34525
|  | Name | Blue fluorescence EX
|  | Excitation wavelength [nm] | 345
|  | Emission filter product number | VF45040
|  | Name | Blue fluorescence EM
|  | Emission wavelength [nm] | 450
|  | Permanent | Yes
|  | Scaling factor | 1
Filter pair
|  | Name | Green fluorescence
|  | Excitation filter product number | VF48515
|  | Name | Green fluorescence EX
|  | Excitation wavelength [nm] | 485
|  | Emission filter product number | VF52515
|  | Name | Green fluorescence EM
|  | Emission wavelength [nm] | 525
|  | Permanent | Yes
|  | Scaling factor | 1
Filter pair
|  | Name | Orange fluorescence
|  | Excitation filter product number | VF55515
|  | Name | Orange fluorescence EX
|  | Excitation wavelength [nm] | 555
|  | Emission filter product number | VF61545
|  | Name | Orange fluorescence EM
|  | Emission wavelength [nm] | 615
|  | Permanent | Yes
|  | Scaling factor | 1
|  | Top optics | Yes
|  | Bottom optics | No
|  | Photometric monochromator | Yes
|  | Incubator | Yes

## Protocol parameters
Protocol parameters
| Measurement order | 1
| Check temperature at start [°C] | No
| Plate with lid | No
Shake 1
| Duration [hh:mm:ss]: | 00:00:20
| Shaking type | Continuous
| Shaking method | Orbital
| Shaking speed | Medium
Absorbance 1
| Wavelength [nm] | 450
| Use transmittance | No
| Measurement mode | Fast
| Pathlength correction | No
Absorbance 2
| Wavelength [nm] | 620
| Use transmittance | No
| Measurement mode | Fast
| Pathlength correction | No

## Run log
Run log
| Time | Event | Information
| 2026-09-25T17:03:13-05:00 | Session Human_Leptin_Invitrogen_09_26_26_first trial.skax started
| 2026-09-25T17:03:13-05:00 | Temperature | 37.0°C
| 2026-09-25T17:03:14-05:00 | Step Shake 1 started
| 2026-09-25T17:03:21-05:00 | Temperature | 37.0°C
| 2026-09-25T17:03:36-05:00 | Step Shake 1 ended
| 2026-09-25T17:03:37-05:00 | Step Absorbance 1 started
| 2026-09-25T17:04:00-05:00 | Step Absorbance 1 ended
| 2026-09-25T17:04:00-05:00 | Step Absorbance 2 started
| 2026-09-25T17:04:19-05:00 | Step Absorbance 2 ended
| 2026-09-25T17:04:19-05:00 | Temperature | 37.0°C
| 2026-09-25T17:04:21-05:00 | Temperature | 37.0°C
| 2026-09-25T17:04:24-05:00 | Session Human_Leptin_Invitrogen_09_26_26_first trial.skax ended

## Layout definitions
Name | Plate 1
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Std70001 | Std70001 | Un0002 | Un0003 | Un0004 | Un0005
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 0.234375 ng/mL | 0.234375 ng/mL | 1:1 | 1:1 | 1:1 | 1:1
B | Std60001 | Std60001 | Un0006 | Un0007 | Un0008 | Un0009
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 0.46875 ng/mL | 0.46875 ng/mL | 1:1 | 1:1 | 1:1 | 1:1
C | Std50001 | Std50001 | Un0010 | Un0011 | Un0012 | Un0013
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 0.9375 ng/mL | 0.9375 ng/mL | 1:1 | 1:1 | 1:1 | 1:1
D | Std40001 | Std40001 | Un0014 | Un0015 | Un0016 | Un0017
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1.875 ng/mL | 1.875 ng/mL | 1:1 | 1:1 | 1:1 | 1:1
E | Std30001 | Std30001 | Un0018 | Un0019 | Un0020 | Un0021
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 3.75 ng/mL | 3.75 ng/mL | 1:1 | 1:1 | 1:1 | 1:1
F | Std20001 | Std20001 | Un0022 | Un0023 | Un0024 | Un0025
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 7.5 ng/mL | 7.5 ng/mL | 1:1 | 1:1 | 1:1 | 1:1
G | Std10001 | Std10001 | Un0026 | Un0027 | Un0028 | Un0029
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 15 ng/mL | 15 ng/mL | 1:1 | 1:1 | 1:1 | 1:1
H | Blank1 | Un0001 | Un0030 | Un0031 | Un0032 | Un0033
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1