## Absorbance 1_01
Measurement results
Human_Leptin_MilliporeSigma_09_15_2026_first trial.skax
2026-09-15T16:52:29-05:00
Absorbance 1
Wavelength: 450 nm
Plate 1
Abs | 1 | 2 | 3 | 4 | 5 | 6
A | 0.0645 | 0.0701 | 0.0455 | 0.4537 | 0.4554 | 0.4585
B | 0.081 | 0.0832 | 0.0498 | 0.0479 | 0.4756 | 0.4428
C | 0.1157 | 0.1219 | 0.0461 | 0.0466 | 0.0521 | 0.1748
D | 0.1878 | 0.1889 | 0.0463 | 0.0613 | 0.0526 | 0.1788
E | 0.345 | 0.331 | 0.0472 | 0.048 | 0.048 | 0.4078
F | 0.618 | 0.654 | 0.0491 | 0.0486 | 0.0539 | 0.4237
G | 1.146 | 1.1458 | 0.4152 | 0.3975 | 0.0488 | 0.4273
H | 1.9655 | 1.9547 | 0.4881 | 0.5093 | 0.4583 | 0.5208
Wavelength: 590 nm
Plate 1
Abs | 1 | 2 | 3 | 4 | 5 | 6
A | 0.0394 | 0.0429 | 0.0389 | 0.0402 | 0.0404 | 0.0402
B | 0.0411 | 0.0401 | 0.0433 | 0.0416 | 0.0418 | 0.0389
C | 0.0435 | 0.0421 | 0.0395 | 0.0399 | 0.0401 | 0.0384
D | 0.0426 | 0.04 | 0.0409 | 0.0533 | 0.0427 | 0.0398
E | 0.0395 | 0.0395 | 0.0398 | 0.0401 | 0.0394 | 0.0386
F | 0.041 | 0.0571 | 0.0418 | 0.0413 | 0.0428 | 0.0403
G | 0.0462 | 0.0431 | 0.0493 | 0.0468 | 0.0407 | 0.0416
H | 0.0434 | 0.0392 | 0.0416 | 0.0421 | 0.0404 | 0.0553
Sample | 1 | 2 | 3 | 4 | 5 | 6
A | Std8 0.195313 | Std8 0.195313 | Blank1 | Sp5 5 (EtOH 1X) | Sp3 5 (Serum 64X) | Sp2 5 (Serum 64X)
B | Std7 0.390625 | Std7 0.390625 | Serum 1X | Serum 1X | Sp4 5 (Serum 256X) | Sp4 5 (Serum 256X)
C | Std6 0.78125 | Std6 0.78125 | Serum 4X | Serum 4X | EtOH 1X | QC 1 (1.2 - 1.6)
D | Std5 1.5625 | Std5 1.5625 | Serum 16X | Serum 16X | EtOH 4X | QC 1 (1.2 - 1.6)
E | Std4 3.125 | Std4 3.125 | Serum 64X | Serum 64X | EtOH 16X | QC 2 (3.3 - 6.8)
F | Std3 6.25 | Std3 6.25 | Serum 256X | Serum 256X | EtOH 64X | QC 2 (3.3 - 6.8)
G | Std2 12.5 | Std2 12.5 | Sp1 5 (Serum 1X) | Sp1 5 (Serum 1X) | EtOH 256X | Sp6 5 (EtOH 16X)
H | Std1 25 | Std1 25 | Sp2 5 (Serum 16X) | Sp2 5 (Serum 16X) | Sp7 5 (EtOH 64X) | Sp8 5 (EtOH 256X)
Autoloading range A1 - M42

## Standard Curve 1_02
Measurement results
Human_Leptin_MilliporeSigma_09_15_2026_first trial.skax
2026-09-15T16:52:29-05:00
Standard Curve 1
Fit type: 4PL
Concentration transformation: Logarithmic
Signal transformation: Linear
Wavelength: 450 nm
Saved curve: No
Sample group: Group 1
y = 5.75889 + ( (0.0499233 - 5.75889) / ( 1 + (x/47.3807)^1.076) )
y = d + ( (a - d) / ( 1 + (x/c)^b) )
Where:
a = | 0.049923
b = | 1.076
c = | 47.3807
d = | 5.7589
R²: 0.999
Well | Sample | Conc. | Original signal | CV% | Fitted signal | Residual
Average | Std10001 | 25 | 1.9601 | 0.38926 | 1.9595 | 0.00054008
H01 | Std10001 | 25 | 1.9655 |  | 1.9595 | 0.0059351
H02 | Std10001 | 25 | 1.9547 |  | 1.9595 | -0.0048549
Average | Std20001 | 12.5 | 1.1459 | 0.011107 | 1.149 | -0.003076
G01 | Std20001 | 12.5 | 1.146 |  | 1.149 | -0.002986
G02 | Std20001 | 12.5 | 1.1458 |  | 1.149 | -0.003166
Average | Std30001 | 6.25 | 0.63597 | 3.9988 | 0.62994 | 0.0060255
F01 | Std30001 | 6.25 | 0.61799 |  | 0.62994 | -0.011957
F02 | Std30001 | 6.25 | 0.65395 |  | 0.62994 | 0.024008
Average | Std40001 | 3.125 | 0.33798 | 2.9273 | 0.34057 | -0.0025928
E01 | Std40001 | 3.125 | 0.34498 |  | 0.34057 | 0.0044032
E02 | Std40001 | 3.125 | 0.33098 |  | 0.34057 | -0.0095888
Average | Std50001 | 1.5625 | 0.1883 | 0.41344 | 0.19158 | -0.0032782
D01 | Std50001 | 1.5625 | 0.18775 |  | 0.19158 | -0.0038287
D02 | Std50001 | 1.5625 | 0.18885 |  | 0.19158 | -0.0027277
Average | Std60001 | 0.78125 | 0.11879 | 3.7173 | 0.11801 | 0.00078582
C01 | Std60001 | 0.78125 | 0.11567 |  | 0.11801 | -0.0023367
C02 | Std60001 | 0.78125 | 0.12191 |  | 0.11801 | 0.0039083
Average | Std70001 | 0.39062 | 0.082081 | 1.8976 | 0.082421 | -0.00034061
B01 | Std70001 | 0.39062 | 0.080979 |  | 0.082421 | -0.001442
B02 | Std70001 | 0.39062 | 0.083182 |  | 0.082421 | 0.00076074
Average | Std80001 | 0.19531 | 0.067321 | 5.8784 | 0.065385 | 0.0019361
A01 | Std80001 | 0.19531 | 0.064522 |  | 0.065385 | -0.00086216
A02 | Std80001 | 0.19531 | 0.070119 |  | 0.065385 | 0.0047344
Plate 1
Signal | 1 | 2 | 3 | 4 | 5 | 6
A | 0.064522 | 0.070119 |  | 0.45372 | 0.45538 | 0.45855
B | 0.080979 | 0.083182 | 0.049775 | 0.047945 | 0.47561 | 0.44281
C | 0.11567 | 0.12191 | 0.046099 | 0.046562 | 0.052063 | 0.17476
D | 0.18775 | 0.18885 | 0.046303 | 0.061256 | 0.052594 | 0.17876
E | 0.34498 | 0.33098 | 0.04722 | 0.048035 | 0.047979 | 0.40784
F | 0.61799 | 0.65395 | 0.049077 | 0.048584 | 0.053923 | 0.42375
G | 1.146 | 1.1458 | 0.41521 | 0.39752 | 0.048765 | 0.42725
H | 1.9655 | 1.9547 | 0.48814 | 0.50925 | 0.45833 | 0.52079
Conc. | 1 | 2 | 3 | 4 | 5 | 6
A | 0.18514 | 0.25054 |  | 4.3259 | 4.3437 | 4.3776
B | 0.3744 | 0.39917 | < Min | < Min | 4.5609 | 4.2091
C | 0.75601 | 0.82338 | < Min | < Min | 0.031013 | 1.3854
D | 1.5222 | 1.5338 | < Min | 0.14624 | 0.038109 | 1.4276
E | 3.1714 | 3.0241 | < Min | < Min | < Min | 3.8363
F | 6.1169 | 6.5184 | < Min | < Min | 0.055482 | 4.0056
G | 12.4609 | 12.4586 | 3.9147 | 3.7267 | < Min | 4.043
H | 25.1087 | 24.9113 | 4.6959 | 4.9241 | 4.3752 | 5.0492
Sample | 1 | 2 | 3 | 4 | 5 | 6
A | Std8 0.195313 | Std8 0.195313 | Blank1 | Sp5 5 (EtOH 1X) | Sp3 5 (Serum 64X) | Sp2 5 (Serum 64X)
B | Std7 0.390625 | Std7 0.390625 | Serum 1X | Serum 1X | Sp4 5 (Serum 256X) | Sp4 5 (Serum 256X)
C | Std6 0.78125 | Std6 0.78125 | Serum 4X | Serum 4X | EtOH 1X | QC 1 (1.2 - 1.6)
D | Std5 1.5625 | Std5 1.5625 | Serum 16X | Serum 16X | EtOH 4X | QC 1 (1.2 - 1.6)
E | Std4 3.125 | Std4 3.125 | Serum 64X | Serum 64X | EtOH 16X | QC 2 (3.3 - 6.8)
F | Std3 6.25 | Std3 6.25 | Serum 256X | Serum 256X | EtOH 64X | QC 2 (3.3 - 6.8)
G | Std2 12.5 | Std2 12.5 | Sp1 5 (Serum 1X) | Sp1 5 (Serum 1X) | EtOH 256X | Sp6 5 (EtOH 16X)
H | Std1 25 | Std1 25 | Sp2 5 (Serum 16X) | Sp2 5 (Serum 16X) | Sp7 5 (EtOH 64X) | Sp8 5 (EtOH 256X)
Autoloading range A1 - M104

## Blank Subtraction 1_03
Measurement results
Human_Leptin_MilliporeSigma_09_15_2026_first trial.skax
2026-09-15T16:52:29-05:00
Blank Subtraction 1
Wavelength: 450 nm
Plate 1
Blank subtracted | 1 | 2 | 3 | 4 | 5 | 6
A | 0.019049 | 0.024645 | 0 | 0.40825 | 0.40991 | 0.41307
B | 0.035506 | 0.037708 | 0.0043014 | 0.0024711 | 0.43013 | 0.39733
C | 0.070195 | 0.07644 | 0.0006251 | 0.0010882 | 0.0065891 | 0.12928
D | 0.14228 | 0.14338 | 0.0008295 | 0.015783 | 0.0071199 | 0.13329
E | 0.2995 | 0.28551 | 0.0017467 | 0.0025608 | 0.0025052 | 0.36236
F | 0.57251 | 0.60848 | 0.0036035 | 0.0031104 | 0.0084489 | 0.37827
G | 1.1005 | 1.1003 | 0.36974 | 0.35204 | 0.0032908 | 0.38178
H | 1.92 | 1.9092 | 0.44266 | 0.46378 | 0.41285 | 0.47531
Wavelength: 590 nm
Plate 1
Blank subtracted | 1 | 2 | 3 | 4 | 5 | 6
A | 0.0004739 | 0.0039885 | 0 | 0.0012589 | 0.0014565 | 0.0012174
B | 0.0022084 | 0.0011726 | 0.0043753 | 0.0026452 | 0.0029094 | -3.9e-05
C | 0.0045798 | 0.0031202 | 0.0005229 | 0.0009912 | 0.0011633 | -0.0005277
D | 0.0036254 | 0.0010518 | 0.001932 | 0.014321 | 0.0037275 | 0.0008476
E | 0.000564 | 0.0005726 | 0.0008225 | 0.0011258 | 0.0004598 | -0.0003013
F | 0.0020892 | 0.018148 | 0.0028823 | 0.0023871 | 0.0038561 | 0.0013857
G | 0.0073058 | 0.0041642 | 0.010384 | 0.0078514 | 0.0017255 | 0.0026247
H | 0.0044303 | 0.0002251 | 0.002703 | 0.0031766 | 0.0014329 | 0.016384
Sample | 1 | 2 | 3 | 4 | 5 | 6
A | Std8 0.195313 | Std8 0.195313 | Blank1 | Sp5 5 (EtOH 1X) | Sp3 5 (Serum 64X) | Sp2 5 (Serum 64X)
B | Std7 0.390625 | Std7 0.390625 | Serum 1X | Serum 1X | Sp4 5 (Serum 256X) | Sp4 5 (Serum 256X)
C | Std6 0.78125 | Std6 0.78125 | Serum 4X | Serum 4X | EtOH 1X | QC 1 (1.2 - 1.6)
D | Std5 1.5625 | Std5 1.5625 | Serum 16X | Serum 16X | EtOH 4X | QC 1 (1.2 - 1.6)
E | Std4 3.125 | Std4 3.125 | Serum 64X | Serum 64X | EtOH 16X | QC 2 (3.3 - 6.8)
F | Std3 6.25 | Std3 6.25 | Serum 256X | Serum 256X | EtOH 64X | QC 2 (3.3 - 6.8)
G | Std2 12.5 | Std2 12.5 | Sp1 5 (Serum 1X) | Sp1 5 (Serum 1X) | EtOH 256X | Sp6 5 (EtOH 16X)
H | Std1 25 | Std1 25 | Sp2 5 (Serum 16X) | Sp2 5 (Serum 16X) | Sp7 5 (EtOH 64X) | Sp8 5 (EtOH 256X)
Autoloading range A1 - M45

## Standard Curve 2_04
Measurement results
Human_Leptin_MilliporeSigma_09_15_2026_first trial.skax
2026-09-15T16:52:29-05:00
Standard Curve 2
Fit type: 4PL
Concentration transformation: Logarithmic
Signal transformation: Linear
Wavelength: 450 nm
Saved curve: No
Sample group: Group 1
y = 5.71341 + ( (0.00444947 - 5.71341) / ( 1 + (x/47.3807)^1.076) )
y = d + ( (a - d) / ( 1 + (x/c)^b) )
Where:
a = | 0.0044495
b = | 1.076
c = | 47.3807
d = | 5.7134
R²: 0.999
Well | Sample | Conc. | Original signal | CV% | Fitted signal | Residual
Average | Std10001 | 25 | 1.9146 | 0.3985 | 1.9141 | 0.00054008
H01 | Std10001 | 25 | 1.92 |  | 1.9141 | 0.0059351
H02 | Std10001 | 25 | 1.9092 |  | 1.9141 | -0.0048549
Average | Std20001 | 12.5 | 1.1004 | 0.011566 | 1.1035 | -0.003076
G01 | Std20001 | 12.5 | 1.1005 |  | 1.1035 | -0.002986
G02 | Std20001 | 12.5 | 1.1003 |  | 1.1035 | -0.003166
Average | Std30001 | 6.25 | 0.5905 | 4.3067 | 0.58447 | 0.0060255
F01 | Std30001 | 6.25 | 0.57251 |  | 0.58447 | -0.011957
F02 | Std30001 | 6.25 | 0.60848 |  | 0.58447 | 0.024008
Average | Std40001 | 3.125 | 0.29251 | 3.3824 | 0.2951 | -0.0025928
E01 | Std40001 | 3.125 | 0.2995 |  | 0.2951 | 0.0044032
E02 | Std40001 | 3.125 | 0.28551 |  | 0.2951 | -0.0095888
Average | Std50001 | 1.5625 | 0.14283 | 0.54507 | 0.14611 | -0.0032782
D01 | Std50001 | 1.5625 | 0.14228 |  | 0.14611 | -0.0038287
D02 | Std50001 | 1.5625 | 0.14338 |  | 0.14611 | -0.0027277
Average | Std60001 | 0.78125 | 0.073318 | 6.0229 | 0.072532 | 0.00078582
C01 | Std60001 | 0.78125 | 0.070195 |  | 0.072532 | -0.0023367
C02 | Std60001 | 0.78125 | 0.07644 |  | 0.072532 | 0.0039083
Average | Std70001 | 0.39062 | 0.036607 | 4.2548 | 0.036948 | -0.00034061
B01 | Std70001 | 0.39062 | 0.035506 |  | 0.036948 | -0.001442
B02 | Std70001 | 0.39062 | 0.037708 |  | 0.036948 | 0.00076074
Average | Std80001 | 0.19531 | 0.021847 | 18.1141 | 0.019911 | 0.0019361
A01 | Std80001 | 0.19531 | 0.019049 |  | 0.019911 | -0.00086216
A02 | Std80001 | 0.19531 | 0.024645 |  | 0.019911 | 0.0047344
Plate 1
Signal | 1 | 2 | 3 | 4 | 5 | 6
A | 0.019049 | 0.024645 |  | 0.40825 | 0.40991 | 0.41307
B | 0.035506 | 0.037708 | 0.0043014 | 0.0024711 | 0.43013 | 0.39733
C | 0.070195 | 0.07644 | 0.0006251 | 0.0010882 | 0.0065891 | 0.12928
D | 0.14228 | 0.14338 | 0.0008295 | 0.015783 | 0.0071199 | 0.13329
E | 0.2995 | 0.28551 | 0.0017467 | 0.0025608 | 0.0025052 | 0.36236
F | 0.57251 | 0.60848 | 0.0036035 | 0.0031104 | 0.0084489 | 0.37827
G | 1.1005 | 1.1003 | 0.36974 | 0.35204 | 0.0032908 | 0.38178
H | 1.92 | 1.9092 | 0.44266 | 0.46378 | 0.41285 | 0.47531
Conc. | 1 | 2 | 3 | 4 | 5 | 6
A | 0.18514 | 0.25054 |  | 4.3259 | 4.3437 | 4.3776
B | 0.3744 | 0.39917 | < Min | < Min | 4.5609 | 4.2091
C | 0.75601 | 0.82338 | < Min | < Min | 0.031013 | 1.3854
D | 1.5222 | 1.5338 | < Min | 0.14624 | 0.038109 | 1.4276
E | 3.1714 | 3.0241 | < Min | < Min | < Min | 3.8363
F | 6.1169 | 6.5184 | < Min | < Min | 0.055482 | 4.0056
G | 12.4609 | 12.4586 | 3.9147 | 3.7267 | < Min | 4.043
H | 25.1087 | 24.9113 | 4.6959 | 4.9241 | 4.3752 | 5.0492
Sample | 1 | 2 | 3 | 4 | 5 | 6
A | Std8 0.195313 | Std8 0.195313 | Blank1 | Sp5 5 (EtOH 1X) | Sp3 5 (Serum 64X) | Sp2 5 (Serum 64X)
B | Std7 0.390625 | Std7 0.390625 | Serum 1X | Serum 1X | Sp4 5 (Serum 256X) | Sp4 5 (Serum 256X)
C | Std6 0.78125 | Std6 0.78125 | Serum 4X | Serum 4X | EtOH 1X | QC 1 (1.2 - 1.6)
D | Std5 1.5625 | Std5 1.5625 | Serum 16X | Serum 16X | EtOH 4X | QC 1 (1.2 - 1.6)
E | Std4 3.125 | Std4 3.125 | Serum 64X | Serum 64X | EtOH 16X | QC 2 (3.3 - 6.8)
F | Std3 6.25 | Std3 6.25 | Serum 256X | Serum 256X | EtOH 64X | QC 2 (3.3 - 6.8)
G | Std2 12.5 | Std2 12.5 | Sp1 5 (Serum 1X) | Sp1 5 (Serum 1X) | EtOH 256X | Sp6 5 (EtOH 16X)
H | Std1 25 | Std1 25 | Sp2 5 (Serum 16X) | Sp2 5 (Serum 16X) | Sp7 5 (EtOH 64X) | Sp8 5 (EtOH 256X)
Autoloading range A1 - M104

## Basic Calculation 1_05
Measurement results
Human_Leptin_MilliporeSigma_09_15_2026_first trial.skax
2026-09-15T16:52:29-05:00
Basic Calculation 1
Calculation type: Subtraction
Data source A: Absorbance 1 | Wavelength: 450 nm
Data source B: Absorbance 1 | Wavelength: 590 nm
Plate 1
Calculated | 1 | 2 | 3 | 4 | 5 | 6
A | 0.02512 | 0.027202 | 0.0065455 | 0.41354 | 0.415 | 0.4184
B | 0.039843 | 0.043081 | 0.0064716 | 0.0063714 | 0.43377 | 0.40392
C | 0.072161 | 0.079866 | 0.0066477 | 0.0066425 | 0.011971 | 0.13636
D | 0.1452 | 0.14887 | 0.005443 | 0.008007 | 0.0099379 | 0.13899
E | 0.30549 | 0.29148 | 0.0074697 | 0.0079805 | 0.0085909 | 0.36921
F | 0.57697 | 0.59688 | 0.0072667 | 0.0072688 | 0.011138 | 0.38343
G | 1.0998 | 1.1027 | 0.3659 | 0.35074 | 0.0081108 | 0.3857
H | 1.9221 | 1.9155 | 0.44651 | 0.46715 | 0.41796 | 0.46547
Sample | 1 | 2 | 3 | 4 | 5 | 6
A | Std8 0.195313 | Std8 0.195313 | Blank1 | Sp5 5 (EtOH 1X) | Sp3 5 (Serum 64X) | Sp2 5 (Serum 64X)
B | Std7 0.390625 | Std7 0.390625 | Serum 1X | Serum 1X | Sp4 5 (Serum 256X) | Sp4 5 (Serum 256X)
C | Std6 0.78125 | Std6 0.78125 | Serum 4X | Serum 4X | EtOH 1X | QC 1 (1.2 - 1.6)
D | Std5 1.5625 | Std5 1.5625 | Serum 16X | Serum 16X | EtOH 4X | QC 1 (1.2 - 1.6)
E | Std4 3.125 | Std4 3.125 | Serum 64X | Serum 64X | EtOH 16X | QC 2 (3.3 - 6.8)
F | Std3 6.25 | Std3 6.25 | Serum 256X | Serum 256X | EtOH 64X | QC 2 (3.3 - 6.8)
G | Std2 12.5 | Std2 12.5 | Sp1 5 (Serum 1X) | Sp1 5 (Serum 1X) | EtOH 256X | Sp6 5 (EtOH 16X)
H | Std1 25 | Std1 25 | Sp2 5 (Serum 16X) | Sp2 5 (Serum 16X) | Sp7 5 (EtOH 64X) | Sp8 5 (EtOH 256X)
Autoloading range A1 - M32

## Blank Subtraction 2_06
Measurement results
Human_Leptin_MilliporeSigma_09_15_2026_first trial.skax
2026-09-15T16:52:29-05:00
Blank Subtraction 2
Plate 1
Blank subtracted | 1 | 2 | 3 | 4 | 5 | 6
A | 0.018575 | 0.020657 | 0 | 0.40699 | 0.40845 | 0.41186
B | 0.033297 | 0.036536 | -7.39e-05 | -0.0001741 | 0.42723 | 0.39737
C | 0.065615 | 0.07332 | 0.0001022 | 9.7e-05 | 0.0054258 | 0.12981
D | 0.13865 | 0.14233 | -0.0011025 | 0.0014615 | 0.0033924 | 0.13244
E | 0.29894 | 0.28494 | 0.0009242 | 0.001435 | 0.0020454 | 0.36267
F | 0.57042 | 0.59033 | 0.0007212 | 0.0007233 | 0.0045928 | 0.37689
G | 1.0932 | 1.0962 | 0.35935 | 0.34419 | 0.0015653 | 0.37915
H | 1.9156 | 1.909 | 0.43996 | 0.4606 | 0.41142 | 0.45893
Sample | 1 | 2 | 3 | 4 | 5 | 6
A | Std8 0.195313 | Std8 0.195313 | Blank1 | Sp5 5 (EtOH 1X) | Sp3 5 (Serum 64X) | Sp2 5 (Serum 64X)
B | Std7 0.390625 | Std7 0.390625 | Serum 1X | Serum 1X | Sp4 5 (Serum 256X) | Sp4 5 (Serum 256X)
C | Std6 0.78125 | Std6 0.78125 | Serum 4X | Serum 4X | EtOH 1X | QC 1 (1.2 - 1.6)
D | Std5 1.5625 | Std5 1.5625 | Serum 16X | Serum 16X | EtOH 4X | QC 1 (1.2 - 1.6)
E | Std4 3.125 | Std4 3.125 | Serum 64X | Serum 64X | EtOH 16X | QC 2 (3.3 - 6.8)
F | Std3 6.25 | Std3 6.25 | Serum 256X | Serum 256X | EtOH 64X | QC 2 (3.3 - 6.8)
G | Std2 12.5 | Std2 12.5 | Sp1 5 (Serum 1X) | Sp1 5 (Serum 1X) | EtOH 256X | Sp6 5 (EtOH 16X)
H | Std1 25 | Std1 25 | Sp2 5 (Serum 16X) | Sp2 5 (Serum 16X) | Sp7 5 (EtOH 64X) | Sp8 5 (EtOH 256X)
Autoloading range A1 - M29

## Standard Curve 3_07
Measurement results
Human_Leptin_MilliporeSigma_09_15_2026_first trial.skax
2026-09-15T16:52:29-05:00
Standard Curve 3
Fit type: 4PL
Concentration transformation: Logarithmic
Signal transformation: Linear
Saved curve: No
Sample group: Group 1
y = 5.90121 + ( (0.00243012 - 5.90121) / ( 1 + (x/49.684)^1.07265) )
y = d + ( (a - d) / ( 1 + (x/c)^b) )
Where:
a = | 0.0024301
b = | 1.0727
c = | 49.684
d = | 5.9012
R²: 0.999
Well | Sample | Conc. | Original signal | CV% | Fitted signal | Residual
Average | Std10001 | 25 | 1.9123 | 0.24349 | 1.912 | 0.00025773
H01 | Std10001 | 25 | 1.9156 |  | 1.912 | 0.0035501
H02 | Std10001 | 25 | 1.909 |  | 1.912 | -0.0030347
Average | Std20001 | 12.5 | 1.0947 | 0.1913 | 1.096 | -0.0013492
G01 | Std20001 | 12.5 | 1.0932 |  | 1.096 | -0.00283
G02 | Std20001 | 12.5 | 1.0962 |  | 1.096 | 0.00013158
Average | Std30001 | 6.25 | 0.58038 | 2.4252 | 0.57839 | 0.0019839
F01 | Std30001 | 6.25 | 0.57042 |  | 0.57839 | -0.007969
F02 | Std30001 | 6.25 | 0.59033 |  | 0.57839 | 0.011937
Average | Std40001 | 3.125 | 0.29194 | 3.3911 | 0.29105 | 0.00088713
E01 | Std40001 | 3.125 | 0.29894 |  | 0.29105 | 0.0078874
E02 | Std40001 | 3.125 | 0.28494 |  | 0.29105 | -0.0061132
Average | Std50001 | 1.5625 | 0.14049 | 1.8495 | 0.14327 | -0.0027774
D01 | Std50001 | 1.5625 | 0.13865 |  | 0.14327 | -0.0046147
D02 | Std50001 | 1.5625 | 0.14233 |  | 0.14327 | -0.0009401
Average | Std60001 | 0.78125 | 0.069468 | 7.8425 | 0.07024 | -0.00077254
C01 | Std60001 | 0.78125 | 0.065615 |  | 0.07024 | -0.0046248
C02 | Std60001 | 0.78125 | 0.07332 |  | 0.07024 | 0.0030798
Average | Std70001 | 0.39062 | 0.034916 | 6.5584 | 0.034866 | 5.0679e-05
B01 | Std70001 | 0.39062 | 0.033297 |  | 0.034866 | -0.0015686
B02 | Std70001 | 0.39062 | 0.036536 |  | 0.034866 | 0.0016699
Average | Std80001 | 0.19531 | 0.019616 | 7.5052 | 0.017896 | 0.0017198
A01 | Std80001 | 0.19531 | 0.018575 |  | 0.017896 | 0.00067876
A02 | Std80001 | 0.19531 | 0.020657 |  | 0.017896 | 0.0027608
Plate 1
Signal | 1 | 2 | 3 | 4 | 5 | 6 |  | For Regular Serum
A | 0.018575 | 0.020657 |  | 0.40699 | 0.40845 | 0.41186
B | 0.033297 | 0.036536 | -7.39e-05 | -0.0001741 | 0.42723 | 0.39737 | Dilution factor | Measured | Corrected | Recovery (%)
C | 0.065615 | 0.07332 | 0.0001022 | 9.7e-05 | 0.0054258 | 0.12981 | 1 | < Min | #VALUE!
D | 0.13865 | 0.14233 | -0.0011025 | 0.0014615 | 0.0033924 | 0.13244 | 4 | < Min | #VALUE!
E | 0.29894 | 0.28494 | 0.0009242 | 0.001435 | 0.0020454 | 0.36267 | 16 | < Min | #VALUE!
F | 0.57042 | 0.59033 | 0.0007212 | 0.0007233 | 0.0045928 | 0.37689 | 64 | < Min | #VALUE!
G | 1.0932 | 1.0962 | 0.35935 | 0.34419 | 0.0015653 | 0.37915 | 256 | < Min | #VALUE!
H | 1.9156 | 1.909 | 0.43996 | 0.4606 | 0.41142 | 0.45893
[8 empty] | Expected | Experimental | Recovery (%)
Conc. | 1 | 2 | 3 | 4 | 5 | 6 | Spike 1 | 5 | 3.772 | 75.4391
A | 0.20331 | 0.22773 |  | 4.3654 | 4.3812 | 4.418 | Spike 2 | 5 | 4.835 | 96.701
B | 0.37289 | 0.40945 | < Min | < Min | 4.5844 | 4.2616 | Spike 3 | 5 | 4.3996 | 87.992
C | 0.73092 | 0.81468 | < Min | < Min | 0.042196 | 1.4197 | Spike 4 | 5 | 4.423 | 88.4602
D | 1.5136 | 1.5525 | < Min | < Min | 0.014633 | 1.4477
E | 3.2088 | 3.0601 | < Min | < Min | < Min | 3.8886 |  | Serum treated with EtOH
F | 6.1608 | 6.384 | < Min | < Min | 0.031139 | 4.0412
G | 12.463 | 12.5017 | 3.8531 | 3.6908 | < Min | 4.0655 | Dilution factor | Measured | Corrected | Recovery (%)
H | 25.0641 | 24.9453 | 4.7226 | 4.9474 | 4.4133 | 4.9292 | 1 | 0.042196 | 0.042196
[7 empty] | 4 | 0.014633 | 0.058534
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 16 | < Min | #VALUE!
A | Std8 0.195313 | Std8 0.195313 | Blank1 | Sp5 5 (EtOH 1X) | Sp3 5 (Serum 64X) | Sp2 5 (Serum 64X) | 64 | 0.031139 | 1.9929
B | Std7 0.390625 | Std7 0.390625 | Serum 1X | Serum 1X | Sp4 5 (Serum 256X) | Sp4 5 (Serum 256X) | 256 | < Min | #VALUE!
C | Std6 0.78125 | Std6 0.78125 | Serum 4X | Serum 4X | EtOH 1X | QC 1 (1.2 - 1.6)
D | Std5 1.5625 | Std5 1.5625 | Serum 16X | Serum 16X | EtOH 4X | QC 1 (1.2 - 1.6) |  | Expected | Experimental | Recovery (%)
E | Std4 3.125 | Std4 3.125 | Serum 64X | Serum 64X | EtOH 16X | QC 2 (3.3 - 6.8) | Spike 5 | 5.038 | 4.3654 | 86.6507
F | Std3 6.25 | Std3 6.25 | Serum 256X | Serum 256X | EtOH 64X | QC 2 (3.3 - 6.8) | Spike 6 | 5 | 4.0655 | 81.3102
G | Std2 12.5 | Std2 12.5 | Sp1 5 (Serum 1X) | Sp1 5 (Serum 1X) | EtOH 256X | Sp6 5 (EtOH 16X) | Spike 7 | 5.028 | 4.4133 | 87.7736
H | Std1 25 | Std1 25 | Sp2 5 (Serum 16X) | Sp2 5 (Serum 16X) | Sp7 5 (EtOH 64X) | Sp8 5 (EtOH 256X) | Spike 8 | 5 | 4.9292 | 98.5834
Autoloading range A1 - M103

## General information
General information
| Report generated with SW version | SkanIt Software 7.1 RE for Microplate Readers RE, ver. 7.1.0.36
| Time zone | (UTC-06:00) Central Time (US & Canada). Daylight saving time in effect: Offset from UTC is -05:00

## Session information
Session information
| Session name | Human_Leptin_MilliporeSigma_09_15_2026_first trial.skax
| Session notes | Human Leptin_MilliporeSigma_09_15_2026-first trial
| Executed with | SkanIt Software for Microplate Readers RE, ver 7.1.0.36
| Execution time | 2026-09-15T16:52:29-05:00

## Instrument information
Instrument information
| Name |  | Varioskan ALF
| ESW version |  | 1.00.6
| Serial number |  | 3500-00622
Instrument modules
Excitation filter
|  | Excitation filter product number | VF34525
|  | Name | Blue fluorescence EX
|  | Excitation wavelength [nm] | 345
|  | Bandwidth | 25
|  | Permanent | Yes
|  | Date and time of definition | 11/13/2025 10:30:00 AM
Excitation filter
|  | Excitation filter product number | VF48515
|  | Name | Green fluorescence EX
|  | Excitation wavelength [nm] | 485
|  | Bandwidth | 15
|  | Permanent | Yes
|  | Date and time of definition | 11/13/2025 10:30:00 AM
Excitation filter
|  | Excitation filter product number | VF55515
|  | Name | Orange fluorescence EX
|  | Excitation wavelength [nm] | 555
|  | Bandwidth | 15
|  | Permanent | Yes
|  | Date and time of definition | 11/13/2025 10:30:00 AM
Emission filter
|  | Emission filter product number | VF45040
|  | Name | Blue fluorescence EM
|  | Emission wavelength [nm] | 450
|  | Bandwidth | 40
|  | Permanent | Yes
|  | Date and time of definition | 11/13/2025 10:30:00 AM
Emission filter
|  | Emission filter product number | VF52515
|  | Name | Green fluorescence EM
|  | Emission wavelength [nm] | 525
|  | Bandwidth | 15
|  | Permanent | Yes
|  | Date and time of definition | 11/13/2025 10:30:00 AM
Emission filter
|  | Emission filter product number | VF61545
|  | Name | Orange fluorescence EM
|  | Emission wavelength [nm] | 615
|  | Bandwidth | 45
|  | Permanent | Yes
|  | Date and time of definition | 11/13/2025 10:30:00 AM
Filter pair
|  | Name | Blue fluorescence
|  | Excitation filter product number | VF34525
|  | Name | Blue fluorescence EX
|  | Excitation wavelength [nm] | 345
|  | Emission filter product number | VF45040
|  | Name | Blue fluorescence EM
|  | Emission wavelength [nm] | 450
|  | Permanent | Yes
|  | Scaling factor | 1
Filter pair
|  | Name | Green fluorescence
|  | Excitation filter product number | VF48515
|  | Name | Green fluorescence EX
|  | Excitation wavelength [nm] | 485
|  | Emission filter product number | VF52515
|  | Name | Green fluorescence EM
|  | Emission wavelength [nm] | 525
|  | Permanent | Yes
|  | Scaling factor | 1
Filter pair
|  | Name | Orange fluorescence
|  | Excitation filter product number | VF55515
|  | Name | Orange fluorescence EX
|  | Excitation wavelength [nm] | 555
|  | Emission filter product number | VF61545
|  | Name | Orange fluorescence EM
|  | Emission wavelength [nm] | 615
|  | Permanent | Yes
|  | Scaling factor | 1
|  | Top optics | Yes
|  | Bottom optics | No
|  | Photometric monochromator | Yes
|  | Incubator | Yes

## Protocol parameters
Protocol parameters
| Measurement order | 1
| Check temperature at start [°C] | No
| Plate with lid | No
Shake 1
| Duration [hh:mm:ss]: | 00:00:20
| Shaking type | Continuous
| Shaking method | Orbital
| Shaking speed | Medium
Absorbance 1
| Wavelength [nm] | 450
| Wavelength [nm] | 590
| Use transmittance | No
| Measurement mode | Fast
| Pathlength correction | No

## Run log
Run log
| Time | Event | Information
| 2026-09-15T16:52:29-05:00 | Session Human_Leptin_MilliporeSigma_09_15_2026_first trial.skax started
| 2026-09-15T16:52:30-05:00 | Temperature | 22.5°C
| 2026-09-15T16:52:30-05:00 | Step Shake 1 started
| 2026-09-15T16:52:47-05:00 | Temperature | 22.5°C
| 2026-09-15T16:52:53-05:00 | Step Shake 1 ended
| 2026-09-15T16:52:53-05:00 | Step Absorbance 1 started
| 2026-09-15T16:53:47-05:00 | Temperature | 22.5°C
| 2026-09-15T16:54:19-05:00 | Step Absorbance 1 ended
| 2026-09-15T16:54:19-05:00 | Temperature | 22.5°C
| 2026-09-15T16:54:24-05:00 | Session Human_Leptin_MilliporeSigma_09_15_2026_first trial.skax ended

## Layout definitions
Name | Plate 1
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Std80001 | Std80001 | Blank1 | Un0008 | Un0009 | Un0010
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 0.1953125 | 0.1953125 |  | 1:1 | 1:1 | 1:1
B | Std70001 | Std70001 | Un0001 | Un0011 | Un0012 | Un0013
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 0.390625 ng/mL | 0.390625 ng/mL | 1:1 | 1:1 | 1:1 | 1:1
C | Std60001 | Std60001 | Un0002 | Un0014 | Un0015 | Un0016
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 0.78125 ng/mL | 0.78125 ng/mL | 1:1 | 1:1 | 1:1 | 1:1
D | Std50001 | Std50001 | Un0003 | Un0017 | Un0018 | Un0019
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 1.5625 ng/mL | 1.5625 ng/mL | 1:1 | 1:1 | 1:1 | 1:1
E | Std40001 | Std40001 | Un0004 | Un0020 | Un0021 | Un0022
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 3.125 ng/mL | 3.125 ng/mL | 1:1 | 1:1 | 1:1 | 1:1
F | Std30001 | Std30001 | Un0005 | Un0023 | Un0024 | Un0025
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 6.25 ng/mL | 6.25 ng/mL | 1:1 | 1:1 | 1:1 | 1:1
G | Std20001 | Std20001 | Un0006 | Un0026 | Un0027 | Un0028
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 12.5 ng/mL | 12.5 ng/mL | 1:1 | 1:1 | 1:1 | 1:1
H | Std10001 | Std10001 | Un0007 | Un0029 | Un0030 | Un0031
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 25 ng/mL | 25 ng/mL | 1:1 | 1:1 | 1:1 | 1:1